## EIR 975
Date of Event Notification | Contaminant | Level detected | Area impacted | Short Event Summary | Risk Assessments
2020-07-31 | Lead | 13900µg/L | Holmfirth/Emley 2019 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2020-08-28 | E.coli | 2 colonies/100ml | Thorne Water Tower | Escherichia coli detection in a sample collected from a treated water tower. No recurrence of indicator bacteria in follow up samples | The water tower was removed from service and sampling was carried out at the site and in the associated distribution network. None of the follow up samples taken in association with this Event contained bacteriological indicator organisms. There were no customer contacts in association with this Event. Investigation is ongoing, but no conclusive cause has yet been identified
2020-08-27 | Coliforms | recurrent at numerous properties | York East 2019 WSZ | Low level of coliform bacteria, but not faecal indicator organisms in local area. | Boil Water Advice issued
2020-09-29 | Lead | 642µg/L | Sheffield/Grenoside 2019 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2020-10-04 | E.coli | 19 colonies/1000ml | Whixley Service Reservoir | Escherichia coli detection in a sample collected from a treated water service reservoir. No recurrence of indicator bacteria in follow up samples | Service reservoir removed from service and extensive sampling
2020-10-18 | Coliforms | 210/100ml | Haisthorpe No.2 WTW | Low level of coliform bacteria, but not faecal indicator organisms at a water treatment works. | Extensive sampling and investigation
2020-11-04 | E.coli | Coliforms - 2/100ml E.coli - 1/100ml | Wathwood Service Reservoir | Escherichia coli and coliform detection in a sample collected from a treated water service reservoir. No recurrence of indicator bacteria in follow up samples | Extensive sampling and investigation
2021-05-04 | Coliforms | Coliforms - 1 / 100ml. | Chellow Heights WTW | Low level of coliform bacteria, but not faecal indicator organisms at a water treatment works. Evidence of recurrence at levels below regulatory limit within treatment process | Extensive sampling and investigation
2021-05-19 | Lead | 147µg/L | Norton Sheffield 2019 WTW | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2021-06-21 | Coliforms | repeat detections | Carcroft 2019 WSZ | Low level of mixure of indicator bacteria in local area following a mains burst and repair | Do Not Drink water advice issued
2021-07-01 | Coliforms and Enterococci | Coliforms - 5/100ml Enterococci - 1/100ml | Darley Padside Suction Tank | Low level of mixure of indicator bacteria at treated water service reservoir. No bacteria were identified at downstream impacted properties | Extensive sampling and investigation
2021-08-14 | E.coli | 1 colony/1000ml | Cold Cotes Service Reservoir | Low level of mixure of indicator bacteria including E. coli at less than the regulatory standard at treated water service reservoir. Subsequent investigation identified potential for ingress upstream which was resolved. | Extensive sampling and investigation
2021-08-25 | Lead | 247µg/L | Colne Valley 2019 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2021-08-31 | Coliforms | repeat detections | Dales 2015 WSZ | Low level of coliform bacteria, but not faecal indicator organisms, at one property following a mains burst and repair | Boil Water Advice issued
2021-09-16 | E.coli | 1 colony/100ml | Butterbusk Service Reservoir | Escherichia coli detection in a sample collected from a treated water service reservoir. No recurrence of indicator bacteria in follow up samples at customer properties. | Extensive sampling and investigation
2021-10-06 | E.coli | 1 colony/100ml | Grassington No.2 Service Reservoir | Escherichia coli detection in a sample collected from a treated water service reservoir. No recurrence of indicator bacteria in follow up samples at customer properties. | Extensive sampling and investigation
2021-10-18 | Coliforms | repeat detections | York East 2019 WSZ | Low level of coliform bacteria, but not faecal indicator organisms, at several properties. The likely cause was biofilm growth within the local water main | Boil Water Advice issued
2022-06-16 | Lead | 401µg/L | Brighouse 2004 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2022-06-17 | Lead | 29.4µg/L | Beverly 2019 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2022-06-28 | Lead | 21.6µg/L | Colne Valley 2019 | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2022-07-09 | Coliforms | repeat detections | Skipton/Craven 2015 WSZ | Coliform bacteria, but not faecal indicator organsisms, at a service reservoir and downstream customer properties. No definitive cause was identified however the Yorkshire Water asset was taken out of service. | Boil Water Advice issued
2022-07-19 | Lead | 125µg/L | Rawmarsh & Wickersley 2019 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2022-07-27 | Lead | 233µg/L | Shipley 2019 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2022-08-05 | Lead | 409µg/L | Cleckheaton 2019 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2022-08-08 | Lead | 321µg/L | Barnsley Pennine 2019 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2022-08-27 | E.coli | 1 colony/100ml | Keldgate WTW | Escherichia coli detection in a sample collected from a water treatment works. No recurrence of indicator bacteria in follow up samples at customer properties. | Extensive sampling and investigation
2022-08-27 | E.coli | 4 colonies/100ml | Grenoside Service Reservoir | Escherichia coli detection in a sample collected from a treated water service reservoir. No recurrence of indicator bacteria in follow up samples at customer properties. | Extensive sampling and investigation
2022-09-05 | Coliforms and E.coli | repeat detections | Pateley Bridge/Ripon 2019 WSZ | Low level of mixure of indicator bacteria in discreted local area. An illegal third party cross-connect was identified and removed. | Boil Water Advice issued
2022-09-13 | Coliforms | repeat detections | Goole 2019 WSZ | Low level of coliform bacteria, but not faecal indicator organisms, at several properties following a mains leak and repair | Boil Water Advice issued to customers.
2022-09-13 | E.coli | 1 colony/100ml | East Ness WTW | Escherichia coli detection in a sample collected from a water treatment works. Likely due to ground water contamination. Investment scheme created for site improvements. No recurrence of indicator bacteria in follow up samples at customer properties. | Extensive sampling and investigation
2022-09-16 | Lead | 193µg/L | Manor 2019 | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2022-10-03 | Lead | 1710µg/L | Idle/Pudey 2004 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2022-11-11 | Lead | 133µg/L | Malton 2019 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2022-12-15 | Lead | 57.6µg/L at kitchen tap; 689µg/L from meter boundary box | Thorne/Hatfield 2019 WSZ | High lead detection at single domestic property. Subsequent investigation identifed a previous unencountered mechanism of lead released from galvanised steel mains, impacting a small number of properties. Yorkshire Water replaced its water main | Extensive sampling and investigation
2023-01-19 | Coliforms and E.coli | Coliforms - 60 colonies/100ml E.coli - 12 colonies/100ml | Pontefract 2019 WSZ | Coliform bacteria at a single domestic property. Private kitchen fittings of a type like to promote bacterial growth were identified. Protective advice was lifted after several clear samples were collected. | Boil Water Advice issued to customers.
2023-02-27 | Lead | 306µg/L | Wakefield City South Sam 2019 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2023-03-22 | Coliforms | 245 colonies/100ml | Airedale 2004 WSZ | Mixture of indicator bacteria at a single domestic property. No definitive cause was identified. However, private kitchen fittings of a type like to promote bacterial growth were identified. Protective advice was lifted after several clear samples were collected. | Boil Water Advice issued
2023-03-30 | Coliforms | repeat detections | Dales 2015 WSZ | Repeated colform detections impacting a number of properties in a local area. Investigations subsequently identified a potential point of ingress on the mains network, which was resolved | Boil Water Advice issued
2023-04-21 | Coliforms | repeat detections | Chellow Heights WTW | Low level of coliform bacteria, but not faecal indicator organisms at a water treatment works. Subsequent intermittent evidence of recurrence at low levels. Series of medium-term investments in process to improve site operation were already in delivery. | Extensive sampling and investigation
2023-04-24 | Lead | 15.3µg/L | Halifax 2004 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2023-05-02 | Lead | 66.6µg/L | Bradford City South 2019 WSZ | High lead detection at two properties with a joint supply. Related to private pipework | Do Not Drink water advice issued
2023-05-09 | Lead | 99.8µg/L | Barnsley – Pennine 2019 WSZ | High lead detection at three properties with a joint supply. Related to private pipework | Do Not Drink water advice issued
2023-05-15 | Lead | 68.1µg/L | Shipley 2019 WSZ | High lead detection at single domestic property. Related to private pipework | EIR 975
2023-05-31 | Coliforms | repeat detections | Thorne/Hatfield 2019 WSZ | Low level of coliform bacteria, but not faecal indicator organisms in a discrete local distribution area. | Boil Water Advice issued
2023-06-25 | Enterococci | Coliforms - 3 colonies/100ml Enterococci - 1 colony/100ml | Upton Water Tower | Mixed bacterial detection in a sample collected from a treated water service reservoir. No recurrence of indicator bacteria in follow up samples at customer properties. | Water Tower taken out of service
2023-07-04 | Coliforms | >1000 colonies/100ml | Huddersfield 2019 WSZ | High level coliform detection following investigation of third-party initiated 'Do Not Use' following their own sample analysis. Yorkshire Water identified issues in private internal plumbing arrangements in the third-party managed building. | Boil Water Advice issued
2023-07-12 | Lead | 248µg/L | Manor 2019 WSZ | High lead detection at two properties with a joint supply. Related to private pipework | Do Not Drink water advice issued
2023-07-18 | E.coli | 1 colony/100ml | Moortown No.2 Service Reservoir | Escherichia coli detection in a sample collected from a treated water service reservoir. No recurrence of indicator bacteria in follow up samples at customer properties. | The service reservoir was removed from service and extensive sampling and investigation was undertaken.
2023-07-28 | Lead | 175µg/L | Loxley 2004 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2023-08-26 | Coliforms; E.coli | Coliforms - 1 colony/100ml E.coli - 2 colonies/1000ml | Barnsley Grid/Grimethorpe 2019 WSZ | Mixed bacterial detection in a sample collected from a single domestic property. Related to contamination from private kitchen fittings | Boil Water Advice issued
2023-08-29 | Coliforms | 17 colonies/1000ml | Stalling Busk Service Reservoir | Coliform bacteria, but not faecal indicator organism, detection in a sample collected from a treated water service reservoir. Further intermittent detections were identified. A potential point of ingress on Yorkshire Water network was subsequent identified and resolved. | Extensive sampling and investigation
2023-09-01 | E.coli | 1 colony/1000ml | Siwards How Water Tower | Escherichia coli detection in a sample collected from a treated water service reservoir. No recurrence of indicator bacteria in follow up samples at customer properties. | Extensive sampling and investigation
2023-09-15 | Coliforms | repeat detections | Leeds HL Hawksworth and Gledhow 2019 WSZ | Repeated colform detections impacting a number of properties in a local area. Investigations subsequently identified a potential for ingress on the mains network in relation to earlier mains improvement. | Boil Water Advice issued
2023-09-22 | Lead | 60.2µg/L | Manor 2019 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2023-10-05 | E.coli | 90 colonies/100ml | Skipton / Craven 2015 WSZ | Escherichia coli detection in a sample collected from a domestic property. Three properties were found to be impacted by illegal cross-connection on private pipework between a third-party raw water supply and the drinking water network at these properties. | Boil Water Advice issued
2023-10-05 | Coliforms | 86 colonies/1000ml | Stalling Busk Service Reservoir | Coliform bacteria, but not faecal indicator organism, detection in a sample collected from a treated water service reservoir. Further intermittent detections were identified. A potential point of ingress on Yorkshire Water network was subsequent identified and resolved. | Extensive sampling and investigation
2023-10-17 | Coliforms | 19 colonies/100ml | York East 2019 WSZ | Repeated colform detections impacting a number of properties in a local area. Likely related to biofilm growth within mains systems. The Yorkshire Water main was replaced. | Extensive sampling and investigation
2023-11-02 | Coliforms | 204 colonies/100ml | Leeds LL Bramhope & Alwoodley 2019 WSZ | Coliform bacteria detection in a sample collected from a domestic property. Related to contamination from private kitchen fittings | Boil Water Advice issued
2023-11-04 | Coliforms and E.coli | Coliforms - 108 colonies/100ml E.coli - 3 colonies/100ml | Dales 2015 WSZ | Mixed bacterial detection in a sample collected from a water treatment works. Two potential points of ingress were identified on Yorkshire Water assets and resolved. There was no recurrence of indicator bacteria at downstream customer properties | Boil Water Advice issued
2023-11-08 | Lead | 45.7µg/L | Holderness 2019 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2023-11-12 | Coliforms | 1 colony/100ml - four properties | Goole 2019 WSZ | Low level of coliform bacteria, but not faecal indicator organisms, following a mains leak and repair | Boil Water Advice issued
2023-11-24 | Lead | 91.2µg/L | Keighley 2004 WSZ | High lead detection at five properties with a joint supply. Related to private pipework | Do Not Drink water advice issued
2023-12-10 | Coliforms | 25 colonies/100ml | Scar House Suction Tank | Coliform bacteria, but not faecal indicator organism, detection in a sample collected from a treated water service reservoir. | Boil Water Advice issued
2024-02-08 | Lead | 16.7µg/L | Hornsea 2019 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2024-02-09 | Lead | 189µg/L | York South 2024 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2024-02-27 | Lead | 52.3µg/L | Ringinglow 2024 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2024-02-27 | Lead | 33.8µg/L | Harden / Heaton 2024 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2024-04-04 | E.coli | 1 colony/100ml | Knottingley and Ackworth 2024 WSZ | E. coli detection in a sample collected from a single domestic property. Related to contamination from private kitchen fittings | Boil Water Advice issued
2024-04-17 | Enterococci | 1 colony/100ml | Shafton / Cudworth 2024 | Enterococci bacteria detection at a single domestic property. There was no recurrence in repeat investigations. A definitive cause was not confirmed. | Boil Water Advice issued
2024-04-18 | Coliforms | >1000 colonies/100ml | Bradford City North 2019 WSZ | High level coliform bacteria, but not faecal indicator organism, detection in a sample collected from a single domestic property. The issue was identifed as part of routine follow up to a mains repir. No other property was impacted. | Boil Water Advice issued
2024-05-13 | Coliforms; E.coli; Enterococci | Coliforms - 207 colonies/100ml E.coli - 2 colonies/100ml Enterococci - 27 colonies/100ml | Shafton / Cudworth 2024 WSZ | Mixed bacterial contamination impacting a local area following a mains burst and repair. | Boil Water Advice issued
2024-05-13 | Lead | 330µg/L | Harrogate South 2019 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2024-05-14 | Lead | 52.4µg/L | Baildon and Bingley 2024 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2024-05-16 | Lead | 410µg/L | Morley Ossett 2017 WSZ | High lead detection at four properties with a joint supply. Related to private pipework | Do Not Drink water advice issued
2024-05-20 | Lead | 22.6µg/L | Morley Ossett 2017 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2024-05-23 | Lead | 181µg/L | Keighley West and Aire Valley 2024 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2024-06-01 | E.coli | 4 colonies/100ml | Huttons Ambo Service Reservoir | Escherichia coli detection in a sample collected from a treated water service reservoir. No recurrence of indicator bacteria in follow up samples at customer properties. Yorkshire Water asset was taken out of service for inspection. | Extensive sampling and investigation
2024-06-14 | Coliforms | 213 colonies/100ml | Ewden 2019 WSZ | Coliform bacteria detection in a sample collected from a domestic property. Related to contamination from private kitchen fittings | Boil Water Advice issued
2024-06-25 | Lead | 74.5µg/L | Skipton/Craven 2015 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2024-06-29 | Coliforms | repeat detections | Pateley Bridge and Ripon 2019 WSZ | Repeat coliform bacteria, but not faecal indicator organisms, a discrete series of rural properties. Complicated series of issues identified on Yorkshire Water and private elements of pipework. Yorkshire Water replaced its own water main and replaced private services. | Boil Water Advice issued
2024-06-30 | Coliforms; Enterococci | Coliforms - 103 colonies/100ml Enterococci - 6 colonies/100ml | Thorne and Hatfield 2019 WSZ | Mixed bacteria detection in a sample collected from a domestic property. Related to contamination from private kitchen fittings | Boil Water Advice issued
2024-07-04 | Coliforms | 53 colonies/100ml | Elvington WTW | Coliform bacteria, but not faecal indicator organism, detection at a water treatment works. No issue with treatment process was identified and a contemporaneous samples was clear of coliforms. A minor potential for ingress was subsequently identied and resolved at the impacted site. There was no recurrence in samples collected from downstream properties | Extensive sampling and investigation
2024-07-04 | lead | 24.6µg/L | York West 2024 WSZ | High lead detection at single domestic property which did not recur on investigation. No lead pipework was identifed at the property and so no clear cause was identified. | Do Not Drink water advice issued
2024-08-01 | Coliforms | 341 colonies/100ml | Hebden Bridge 2024 WSZ | High level coliform detection at a single domestic property. No recurrence of bacteria was identifed in investigations. No definitive cause was confirmed. | Boil Water Advice issued to customers.
2024-08-06 | Lead | 6860µg/L | Northallerton and Thirsk 2019 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2024-08-09 | Enterococci | 1 colony/100ml | Market Weighton 2019 WSZ | Enterococci bacteria detection at a single domestic property. No recurrence of bacteria was identifed in investigations. No definitive cause was confirmed. | Boil Water Advice issued
2024-08-21 | E.coli | 7 colonies/100ml | York South 2024 WSZ | E. coli detection in a sample collected from a single commercial property. Related to contamination from private kitchen fittings | Boil Water Advice issued
2024-09-17 | Coliforms; Enterococci | Coliforms - 1 colony/1000ml Enterococci - 4 colonies/100ml | Stockdale Farm Suction Control Tank | Mixed bacterial detections at a treated water service reservoir. Subsequently a point of potential ingress was identified on the upstream network and resolved. | Extensive sampling and investigation
2024-09-19 | Lead | 29.1µg/L | Baildon and Bingley 2024 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2024-09-23 | lead | 100µg/L | Rawmarsh & Wickersley 2019 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2024-09-25 | Coliforms; E.coli | repeat detections | Oughtershaw Service Reservoir | Mixed bacterial detection in samples collected from a treated water service reservoir. After extensive investigation, Yorkshire Water asset was taken out of service. | Boil Water Advice issued
2024-09-26 | Chlorate | 1.11mg/L | Oughtershaw Service Reservoir | Chlorate detection at service reservoirs impacing a small number of downstream properties. Precautionary secondary chlorine dosing was ceased, immediately improving supply. | stopping secondary hypochlorite dosing at Oughtershaw SR
2024-10-14 | Lead | 89.8µg/L | Morley Ossett 2017 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2024-10-15 | Coliforms | repeat detections | Esk Valley 2004 WSZ | Repeat coliform bacteria, but not faecal indicator organisms, in a local area. The issue was identified by routine follow up of a mains repair. Complicated series of issues identified at many properties as part of third-party operated housing. | Boil Water Advice issued
2024-10-25 | Coliforms | 91 colonies/100ml | Leeds LL Cross Green 2019 WSZ | Coliform bacteria detection in a sample collected from a domestic property. Related to contamination from private kitchen fittings | Do Not Drink water advice issued
2024-11-13 | E.coli | 1 colony/100ml | Halifax 2024 WSZ | E. coli detection in a sample collected from a single domestic property. Related to contamination from private kitchen fittings | Boil Water Advice issued
2024-11-20 | Coliforms | 182 colonies/100ml | Leeds LL Cross Green 2019 WSZ | Coliform bacteria detection in a sample collected from a domestic property. Related to contamination from private kitchen fittings | Boil Water Advice issued
2024-11-29 | E.coli | 1 colony/100ml | Dales 2015 WSZ | E. coli detection in a sample collected from a single domestic property. The issue was identified during routine investigation following a mains burst and repair, but contamination was related to private kitchen fittings | Boil Water Advice issued
2024-12-23 | Lead | 104µg/L | Leeds LL Horsforth and Tinshill 2019 WSZ | High lead detection at single domestic property. Related to private pipework | Do Not Drink water advice issued
2025-01-03 | Coliforms | repeat detections | Scar House Suction Tank | Coliform bacteria, but not faecal indicator organism, detection in a sample collected from a treated water service reservoir. Potential point of ingress on upstream network identified and resolved | Extensive sampling and investigation
2025-01-16 | E.coli | 1 colony/100ml | Carcroft 2019 WSZ | E. coli detection in a sample collected from a single domestic property. Related to contamination from private kitchen fittings | Boil Water Advice issued
2025-02-20 | Clostridium perfringens | repeat detections | Barnsley Pennine 2019 WSZ | Clostridium perfringens contamination impacting a discrete local area following a mains burst and repair. | Boil Water Advice issue
2025-03-16 | E.coli | 1 colony/100ml | Leeds LL Robin Hood 2019 WSZ | E. coli detection in a sample collected from a single domestic property. Related to contamination from private kitchen fittings | Boil Water Advice issued