## Sheet1
COMs Type/Transmitter Manufacturer/ Transmitter Device/Measurement Device Manufacturer/Measurement Device/Type of Measurement | Count
Cellular Connectivity// /GE/UNIK 5000/Pressure | 43
Cellular Connectivity// /PULSAR MEASUREMENT/Dbi 10m/Ultrasonic | 1
Cellular Connectivity// /PULSAR MEASUREMENT/Dbi 3m/Ultrasonic | 73
Cellular Connectivity// /PULSAR MEASUREMENT/Dbi 6m/Ultrasonic | 692
Cellular Connectivity// /VEGA/VEGPULS C 21/Radar | 83
Cellular Connectivity/SIEMENS/ HYDRORANGER 200/SIEMENS/XRS/Ultrasonic | 7
Cellular Connectivity/SIEMENS/ HYDRORANGER PLUS/SIEMENS/XRS/Ultrasonic | 2
Cellular Connectivity/SIEMENS/ SITRAN PROBE/SIEMENS/XRS/Ultrasonic | 16
Cellular Connectivity/SIEMENS/ SITRANS PROBE LU/SIEMENS/XRS/Ultrasonic | 5
Other// /Meteor/MCR-RPS-C/Image | 2
Real Time// ///Intelligent alarm | 2
Real Time// ///Pump Run Signal | 122
Real Time// /HAWKER ELECTRONICS/UNSPECIFIED/Probe | 1
Real Time// /UNSPECIFIED/UNSPECIFIED/Probe | 1
Real Time/SIEMENS/ HYDRORANGER PLUS/SIEMENS/XRS/Ultrasonic | 1
Real Time/SIEMENS/ HYDRORANGER /SIEMENS/XRS/Ultrasonic | 1
Real Time/SIEMENS/ HYDRORANGER 200 HMI/SIEMENS/XRS/Ultrasonic | 410
Real Time/SIEMENS/ HYDRORANGER 200/SIEMENS/XRS/Ultrasonic | 272
Real Time/SIEMENS/ HYDRORANGER HMI/SIEMENS/XRS/Ultrasonic | 22
Real Time/SIEMENS/ HYDRORANGER PLUS/SIEMENS/XRS/Ultrasonic | 101
Real Time/SIEMENS/ HYDRORANGER/SIEMENS/XRS/Ultrasonic | 36
Real Time/SIEMENS/ MULTIRANGER 100/SIEMENS/XRS/Ultrasonic | 2
Real Time/SIEMENS/ MULTIRANGER 200 HMI/SIEMENS/XRS/Ultrasonic | 1
Real Time/SIEMENS/ MULTIRANGER 200/SIEMENS/XRS/Ultrasonic | 2
Real Time/SIEMENS/ MULTIRANGER PLUS/SIEMENS/XRS/Ultrasonic | 6
Real Time/SIEMENS/ SITRAN PROBE/SIEMENS/XRS/Ultrasonic | 7
Real Time/SIEMENS/ SITRANS LT500/SIEMENS/XRS/Ultrasonic | 245
Real Time/SIEMENS/ SITRANS LU/SIEMENS/XRS/Ultrasonic | 5
Real Time/SIEMENS/ SITRANS LU01/SIEMENS/XRS/Ultrasonic | 1
Real Time/SIEMENS/ SITRANS LUT 400/SIEMENS/XRS/Ultrasonic | 11
Real Time/SIEMENS/ SITRANS LUT 420/SIEMENS/XRS/Ultrasonic | 121
Real Time/SIEMENS/ SITRANS LUT 430/SIEMENS/XRS/Ultrasonic | 43
Real Time/SIEMENS/ SITRANS PROBE LU/SIEMENS/XRS/Ultrasonic | 2
Real Time/SIEMENS/ UNSPECIFIED/SIEMENS/XRS/Ultrasonic | 38
Real Time/SIEMENS/ ZENITH/SIEMENS/XRS/Ultrasonic | 1