{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["EDM SO BW Return 2024"],"not_rendered":{"charts":0,"images":1,"macros":1,"external_links":1,"defined_names":4,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"EDM SO BW Return 2024","index":0,"n_rows":90,"n_cols":24,"rows_kept":90,"cut":false,"hidden":false,"merged":[[3,19,4,20],[3,12,4,12]]}
[]
[]
[null,null,null,"Environment Act -BATHING WATER STORM OVERFLOW REGULATORY ANNUAL RETURN 2024"]
[]
[]
["Unique ID","Water Company Name","Site Name\n(EA Consents Database)","Site Name\n(WaSC operational)\n[optional]","EA Permit Reference\n(EA Consents Database)","WaSC Supplementary Permit Ref.\n[optional]","Activity Reference on Permit","Storm Discharge Asset Type","Outlet Discharge NGR\n(EA Consents Database)","WFD Waterbody ID (Cycle 3)\n(discharge outlet)","WFD Waterbody Catchment Name (Cycle 3)\n(discharge outlet)","Receiving Water / Environment (common name)\n(EA Consents Database)","Bathing Water Name(s)","Bathing Water Type","Treatment Method on Permit\n(over & above Storm Tank settlement / screening)","Initial EDM Commission Date","Total Duration (hrs) all spills prior to processing through 12-24h count method","Counted spills using 12-24h count method","EDM Operation -\n% of reporting period EDM operational","EDM Operation -\nReporting % -\nPrimary Reason <90%","EDM Operation -\nAction taken / planned -\nStatus & timeframe","Previous Improvements -\nMost recent AMP period asset previously improved\n(under BW WINEP driver)","Target Standard affecting Spill Frequency\n(if SO previously improved)","Spill Frequency for Design Solution\n(significant spills)\n(if SO previously improved)"]
["YWS00503","Yorkshire Water","NEWBY BRIDGE STORM DETENTION TANK","NEWBY BRIDGE TANK/CSO","27/26/0014","27/26/0014",1,"SO on sewer network","TA0141090360","GB104027067980","Burniston Beck/Sea Cut/Scalby Beck Catch to N Sea","SCALBY BECK - NORTH SEA","Scarborough North Bay","Coastal","N/A","Commissioned in 2019 - full BW season data expected",72.7,9,100,null,null,"AMP5 (Apr 2010 to Mar 2015)","Marine Impact Modelling-derived","N/A"]
["YWS00504","Yorkshire Water","COW WATH BECK CSO","COW WATH BECK/CSO","27/26/0015","27/26/0015",1,"SO on sewer network","TA0187090480","GB104027067980","Burniston Beck/Sea Cut/Scalby Beck Catch to N Sea","THE NORTH SEA","Scarborough North Bay","Coastal","N/A","Commissioned in 2019 - full BW season data expected",202.47,22,100,null,null,"AMP5 (Apr 2010 to Mar 2015)","Marine Impact Modelling-derived","N/A"]
["YWS00505","Yorkshire Water","HILLCREST AVENUE","HILLCREST AV TANK/CSO","27/26/0016","27/26/0016",1,"SO on sewer network","TA0225090550","GB104027067980","Burniston Beck/Sea Cut/Scalby Beck Catch to N Sea","SCALBY BECK - NORTH SEA","Scarborough North Bay","Coastal","N/A","Commissioned in 2018 - full BW season data expected",169.58,24,99.97,null,null,"AMP5 (Apr 2010 to Mar 2015)","Marine Impact Modelling-derived","N/A"]
["YWS00581","Yorkshire Water","WHITBY ROAD BRIDGE CSO","WHITBY ROAD BDG/CSO","27/29/0044","27/29/0044",1,"Storm discharge at pumping station","TA0346091320","GB650401500004","Yorkshire North","THE NORTH SEA","Scarborough North Bay","Coastal","N/A","Commissioned in 2019 - full BW season data expected",78.62,13,99.99,null,null,"AMP5 (Apr 2010 to Mar 2015)","Marine Impact Modelling-derived","N/A"]
["YWS00849","Yorkshire Water","TOLL HOUSE STORMWATER OUTFALL","TOLL HOUSE/SPS","C4409","C4409","A1","Storm discharge at pumping station","TA0528489001","GB650401500004","Yorkshire North","NORTH SEA","Scarborough South Bay","Coastal","N/A","Commissioned in 2021 - full BW season data expected",9.27,14,100,null,null,"AMP5 (Apr 2010 to Mar 2015)","Marine Impact Modelling-derived","N/A"]
["YWS00850","Yorkshire Water","AQUARIUM TOP STORMWATER OUTFALL","AQUARIUM TOP/CSO","C4411","C4411",1,"SO on sewer network","TA0443088280","GB650401500004","Yorkshire North","NORTH SEA","Scarborough South Bay","Coastal","N/A","Commissioned in 2019 - full BW season data expected",0,0,99.97,null,null,"AMP5 (Apr 2010 to Mar 2015)","Marine Impact Modelling-derived","N/A"]
["YWS00930","Yorkshire Water","BELGRAVE ROAD BRIDGE CSO","BELGRAVE RD BRID/CSO","EPRAB3895RU","EPR/AB3895RU","A1","SO on sewer network","TA1888065320","GB640402491000","Yorkshire South","NORTH SEA","Bridlington South Beach","Coastal","N/A","Commissioned in 2019 - full BW season data expected",37.9,16,100,null,null,"AMP5 (Apr 2010 to Mar 2015)","Marine Impact Modelling-derived","N/A"]
["YWS00931","Yorkshire Water","HILDERTHORPE ROAD CSO","HILDERTHORPE ROAD/CSO","EPRBB3194WR","EPR/BB3194WR","A1","SO on sewer network","TA1888065320","GB640402491000","Yorkshire South","NORTH SEA","Bridlington South Beach","Coastal","N/A","Commissioned in 2019 - full BW season data expected",13.93,8,99.93,null,null,"N/A","N/A","N/A"]
["YWS01002","Yorkshire Water","SANDS LANE SEWAGE PUMPING STATION","SANDS LANE BRID/CSO","NPSWQD000318","NPSWQD000318",1,"SO on sewer network","TA1922067340","GB640402491000","Yorkshire South","NORTH SEA","Bridlington North Beach","Coastal","N/A","Commissioned in 2019 - full BW season data expected",6.67,11,100,null,null,"N/A","N/A","N/A"]
["YWS01003","Yorkshire Water","ST ANNES ROAD CSO","ST ANNES ROAD/CSO","NPSWQD000319","NPSWQD000319",1,"SO on sewer network","TA1922167340","GB640402491000","Yorkshire South","NORTH SEA","Bridlington North Beach","Coastal","N/A","Commissioned in 2019 - full BW season data expected",4.5,9,99.98,null,null,"N/A","N/A","N/A"]
["YWS01048","Yorkshire Water","CORNER CAFE CSO","CORNER CAFE/NO 2 CSO","QR.27/26/0002","QR.27/26/0002",1,"SO on sewer network","TA0390089900","GB650401500004","Yorkshire North","THE NORTH SEA","Scarborough North Bay","Coastal","N/A","Commissioned in 2019 - full BW season data expected",5.73,7,100,null,null,"AMP5 (Apr 2010 to Mar 2015)","Marine Impact Modelling-derived","N/A"]
["YWS01049","Yorkshire Water","BURNISTON GARDENS CSO","BURNISTON GARDENS/2 CSO","QR.27/26/0003","QR.27/26/0003",1,"SO on sewer network","TA0156092570","GB104027067980","Burniston Beck/Sea Cut/Scalby Beck Catch to N Sea","BURNISTON BECK","Scarborough North Bay","Coastal","N/A","Commissioned in 2019 - full BW season data expected",44.38,12,100,null,null,"N/A","N/A","N/A"]
["YWS01052","Yorkshire Water","THE WHEATCROFT SHORT SEA OUTFALL","WHEATCROFT/CSO","QR.27/27/0029","QR.27/27/0029","A1","Storm discharge at pumping station","TA0604086350","GB650401500004","Yorkshire North","THE NORTH SEA","Scarborough South Bay","Coastal","N/A","Commissioned in 2019 - full BW season data expected",78.22,8,99.99,null,null,"N/A","Marine Impact Modelling-derived","N/A"]
["YWS01332","Yorkshire Water","GLYNNDALE DRIVE TANK SEWER","GLYNNDALE DRIVE/CSO","WRA6696","WRA6696",1,"SO on sewer network","TA0105090000","GB104027067980","Burniston Beck/Sea Cut/Scalby Beck Catch to N Sea","SEA CUT (SCALBY BECK)","Scarborough North Bay","Coastal","N/A","Commissioned in 2019 - full BW season data expected",20.02,5,100,null,null,"N/A","N/A","N/A"]
["YWS01341","Yorkshire Water","FLAMBOROUGH SPS","FLAMBOROUGH/CSO","WA6516","WA6516","A1","Storm discharge at pumping station","TA2246269918","N/A","N/A","HARTENDALE GUTTER","Flamborough South Landing","Coastal","N/A","Commissioned in 2021 - full BW season data expected",43.58,16,100,null,null,"N/A","N/A","N/A"]
["YWS01373","Yorkshire Water","SPRINGFIELD AVENUE 2 CSO","SPRINGFIELD AVENUE/2 CSO","WRA7343","WRA7343","A1","SO on sewer network","TA1819066800","GB640402491000","Yorkshire South","GYPSEY RACE","Bridlington South Beach","Coastal","N/A","Commissioned in 2019 - full BW season data expected",25.05,17,99.99,null,null,"AMP5 (Apr 2010 to Mar 2015)","Marine Impact Modelling-derived","N/A"]
["YWS01374","Yorkshire Water","BESSINGBY ROAD CSO","BESSINGBY ROAD/CSO","WRA7345","WRA7345","A1","SO on sewer network","TA1812066790","GB640402491000","Yorkshire South","GYPSEY RACE","Bridlington South Beach","Coastal","N/A","Commissioned in 2019 - full BW season data expected",8.08,8,100,null,null,"N/A","N/A","N/A"]
["YWS01452","Yorkshire Water","BRIDLINGTON STW","BRIDLINGTON/STW","WRA7637","WRA7637",2,"Inlet SO at WwTW","TA1929064910","GB640402491000","Yorkshire South","NORTH SEA","Bridlington South Beach","Coastal","N/A","Commissioned in 2019 - full BW season data expected",72.959999999999994,29,99.92,null,null,"AMP5 (Apr 2010 to Mar 2015)","Marine Impact Modelling-derived","N/A"]
["YWS01453","Yorkshire Water","BRIDLINGTON STW","BRIDLINGTON/STW","WRA7637","WRA7637",5,"Inlet SO at WwTW","TA1801065600","GB640402491000","Yorkshire South","NORTH SEA","Bridlington South Beach, Wilsthorpe","Coastal","N/A","Commissioned in 2019 - full BW season data expected",0,0,100,null,null,"AMP5 (Apr 2010 to Mar 2015)","Marine Impact Modelling-derived","N/A"]
["YWS01958","Yorkshire Water","CARNABY SEWAGE PUMPING STATION","CARNABY EAST/CSO","C4279","C4279(SS)","A1","Storm discharge at pumping station","TA1459064150","GB104026066640","Earls Dyke from Source to North Sea ","DEMMING DRAIN","Wilsthorpe","Coastal","N/A","Commissioned in 2019 - full BW season data expected",6.25,1,99.99,null,null,"N/A","N/A","N/A"]
["YWS01959","Yorkshire Water","CARNABY (VILLAGE) SPS","CARNABY MOOR LANE/CSO","WRA8753","WRA8753","A1","Storm discharge at pumping station","TA1565364290","GB104026066640","Earls Dyke from Source to North Sea ","AUBURN BECK","Wilsthorpe","Coastal","N/A","Commissioned in 2019 - full BW season data expected",7.87,1,100,null,null,"AMP5 (Apr 2010 to Mar 2015)","Marine Impact Modelling-derived","N/A"]
["YWS01126","Yorkshire Water","BEMPTON SPS","BEMPTON/CSO","WA6517","WA6517","A1","Storm discharge at pumping station","TA1935071600","GB104026072780","Danes Dyke","TRIBUTARY OF DANES DYKE","Danes Dyke, Flamborough","Coastal","N/A","Commissioned in 2019 - full BW season data expected",43.15,21,99.95,null,null,"N/A","N/A","N/A"]
["YWS01303","Yorkshire Water","CAYTON BAY SEWAGE PUMPING STATION","CAYTON BAY/CSO","WADC84","WADC84",1,"Storm discharge at pumping station","TA0685084100","GB650401500004","Yorkshire North","NORTH SEA","Cayton Bay","Coastal","N/A","Commissioned pre-2016 - full BW season data expected",6.2,1,100,null,null,"N/A","N/A","N/A"]
["YWS00510","Yorkshire Water","FILEY WASTE WATER TREATMENT WORKS","FILEY TRANSFER/CSO","27/27/0051","27/27/0051",2,"Storm discharge at pumping station","TA1377081370","GB650401500004","Yorkshire North","NORTH SEA","Filey","Coastal","N/A","Commissioned in 2019 - full BW season data expected",61.58,19,99.99,null,null,"N/A","N/A","N/A"]
["YWS00511","Yorkshire Water","FILEY WASTE WATER TREATMENT WORKS","FILEY TRANSFER/CSO","27/27/0051","27/27/0051",3,"SO on sewer network","TA 12050 808010","GB650401500004","Yorkshire North","NORTH SEA","Filey","Coastal","N/A","Commissioned in 2020 - full BW season data expected",25.79,7,99.99,null,null,"N/A","N/A","N/A"]
["YWS00512","Yorkshire Water","FILEY WASTE WATER TREATMENT WORKS","FILEY TRANSFER/CSO","27/27/0051","27/27/0051",4,"SO on sewer network","TA1205080820","GB650401500004","Yorkshire North","NORTH SEA","Filey","Coastal","N/A","Commissioned in 2019 - full BW season data expected",23.22,7,99.99,null,null,"N/A","N/A","N/A"]
["YWS00526","Yorkshire Water","FLAT CLIFFS SEWAGE PUMPING STATION","FLATCLIFFS/CSO","27/27/0097","27/27/0097",1,"Storm discharge at pumping station","TA1245078210","GB650401500004","Yorkshire North","THE NORTH SEA","Reighton","Coastal","N/A","Commissioned in 2019 - full BW season data expected",37.979999999999997,7,100,null,null,"N/A","N/A","N/A"]
["YWS01130","Yorkshire Water","HOLBECK HILL CSO","HOLBECK HILL/CSO","WADC1018","WADC1018","A1","SO on sewer network","TA0472586858","GB650401500004","Yorkshire North","HOLBECK RAVINE (CULVERTED)","Scarborough South Bay","Coastal","N/A","Commissioned in 2019 - full BW season data expected",1.85,6,99.93,null,null,"N/A","N/A","N/A"]
["YWS01482","Yorkshire Water","HORNSEA SPS","HORNSEA/CSO","WRA7863","WRA7863",1,"Storm discharge at pumping station","TA2163047450","GB640402491000","Yorkshire South","NORTH SEA","Hornsea","Coastal","N/A","Commissioned in 2019 - full BW season data expected",13.49,29,99.98,null,null,"N/A","N/A","N/A"]
["YWS01223","Yorkshire Water","HUNMANBY GAP SPS","HUNMANBY GAP/CSO","WADC228","WADC228",1,"Storm discharge at pumping station","TA1310077210","N/A","N/A","NORTH SEA VIA REIGHTON GILL","Reighton","Coastal","N/A","Commissioned in 2019 - full BW season data expected",38.5,13,100,null,null,"N/A","N/A","N/A"]
["YWS01144","Yorkshire Water","LIMEKILN LANE CSO","LIMEKILN LANE/NO 2 CSO","WADC1075","WADC1075","A1","SO on sewer network","TA1940967722","GB640402491000","Yorkshire South","NORTH SEA","Bridlington North Beach","Coastal","N/A","Commissioned in 2019 - full BW season data expected",0.7,2,99.99,null,null,"N/A","N/A","N/A"]
["YWS00579","Yorkshire Water","LYTHE BANK SPS","LYTHE BANK/CSO","27/29/0042","27/29/0042",1,"Storm discharge at pumping station","NZ8608013130","GB650401500004","Yorkshire North","NORTH SEA","Sandsend","Coastal","N/A","Commissioned in 2019 - full BW season data expected",30.03,5,100,null,null,"N/A","N/A","N/A"]
["YWS01735","Yorkshire Water","MEMORIAL GARDENS SPS","MEMORIAL GDNS/CSO","WRA8365","WRA8365",1,"Storm discharge at pumping station","TA3440027940","GB640402491000","Yorkshire South","NORTH SEA","Withernsea","Coastal","N/A","Commissioned in 2019 - full BW season data expected",4.5199999999999996,1,100,null,null,"N/A","N/A","N/A"]
["YWS00585","Yorkshire Water","NEW ROAD BRIDGE CSO","NEW ROAD BRIDGE/CSO","27/29/0052","27/29/0052","A1","SO on sewer network","NZ9522005000","N/A","N/A","NORTH SEA","Robin Hoods Bay","Coastal","N/A","Commissioned in 2019 - full BW season data expected",4.32,5,100,null,null,"N/A","N/A","N/A"]
["YWS00580","Yorkshire Water","NORTH TERRACE CSO","NORTH TERRACE/CSO","27/29/0043","27/29/0043",1,"SO on sewer network","NZ8934011530","GB650401500004","Yorkshire North","THE NORTH SEA","Whitby","Coastal","N/A","Commissioned in 2019 - full BW season data expected",0,0,16.600000000000001,"Sensor failure / issue","Resolved - September","N/A","N/A","N/A"]
["YWS00582","Yorkshire Water","ROBIN HOODS BAY SEA OUTFALL","ROBIN HOODS BAY LWR/CSO","27/29/0045","27/29/0045",1,"Storm discharge at pumping station","NZ9557005290","GB650401500004","Yorkshire North","NORTH SEA","Robin Hoods Bay","Coastal","N/A","Commissioned in 2019 - full BW season data expected",75.62,11,99.97,null,null,"N/A","N/A","N/A"]
["YWS00584","Yorkshire Water","RUNSWICK BAY SPS","RUNSWICK BAY LOWER/CSO","27/29/0051","27/29/0051",1,"Storm discharge at pumping station","NZ8135016550","GB650401500004","Yorkshire North","NORTH SEA","Runswick Bay","Coastal","N/A","Commissioned in 2019 - full BW season data expected",109.52,8,100,null,null,"N/A","N/A","N/A"]
["YWS00605","Yorkshire Water","RUNSWICK BECK CSO","RUNSWICK BECK/CSO","27/29/0090","27/29/0090",1,"Storm discharge at pumping station","NZ8074016120","N/A","N/A","CULVERTED RUNWICK BECK","Runswick Bay","Coastal","N/A","Commissioned in 2019 - full BW season data expected",149.93,15,99.95,null,null,"N/A","N/A","N/A"]
["YWS01242","Yorkshire Water","SANDSEND SPS","SANDSEND ROAD/CSO","WADC364","WADC364",1,"Storm discharge at pumping station","NZ8809011520","N/A","N/A","UPGANG BECK","Sandsend","Coastal","N/A","Commissioned in 2019 - full BW season data expected",5.4,4,100,null,null,"N/A","N/A","N/A"]
["YWS00513","Yorkshire Water","SCALBY NESS OUTFALL","SCALBY MILLS/CSO","27/27/0055","27/27/0055",1,"SO on sewer network","TA0470091640","GB650401500004","Yorkshire North","NORTH SEA","Scarborough North Bay","Coastal","N/A","Commissioned in 2020 - full BW season data expected",36.72,20,100,null,null,"AMP5 (Apr 2010 to Mar 2015)","Marine Impact Modelling-derived","N/A"]
["YWS01516","Yorkshire Water","SCARBOROUGH ROAD BRID 2 CSO","SCARBOROUGH RD BRID/2 CSO","WRA7960","WRA7960","A1","SO on sewer network","TA1688067470","GB104026072790","Gypsey Race from Source to North Sea","GYPSEY RACE","Bridlington South Beach","Coastal","N/A","Commissioned in 2019 - full BW season data expected",1.5,5,100,null,null,"N/A","N/A","N/A"]
["YWS02243","Yorkshire Water","SCARBOROUGH WASTE WATER TREATMENT","SCARBOROUGH/STW/STORM TREATMENT","27/27/0053","27/27/0053","XX","Storm tank at WwTW","TA0470191640","GB650401500004","Yorkshire North","NORTH SEA","Scarborough South Bay","Coastal","UV (Ultraviolet)","Commissioned in 2021 - full BW season data expected",140.62,19,99.76,null,null,"AMP5 (Apr 2010 to Mar 2015)","Marine Impact Modelling-derived","N/A"]
["YWS00587","Yorkshire Water","UPGANG LANE SPS","UPGANG LANE/NO 2 CSO","27/29/0057","27/29/0057",2,"Storm discharge at pumping station","NZ8815011900","N/A","N/A","UPGANG BECK","Whitby","Coastal","N/A","Commissioned in 2019 - full BW season data expected",15.25,6,99.22,null,null,"N/A","N/A","N/A"]
["YWS00966","Yorkshire Water","WATER LANE FLAMBOROUGH CSO","WATER LN FLAMBOROUGH/CSO","EPRTP3827GN","EPR/TP3827GN","A1","SO on sewer network","TA2246069928","N/A","N/A","HARTENDALE GUTTER","Flamborough South Landing","Coastal","N/A","Commissioned in 2019 - full BW season data expected",0,0,99.97,null,null,"N/A","N/A","N/A"]
["YWS00602","Yorkshire Water","WHITBY GOLF COURSE CSO","WHITBY GOLF COURSE/CSO","27/29/0087","27/29/0087",1,"SO on sewer network","NZ8829011350","N/A","N/A","TRIB OF UPGANG BECK","Whitby","Coastal","N/A","Commissioned in 2019 - full BW season data expected",14.93,9,100,null,null,"N/A","N/A","N/A"]
["YWS01125","Yorkshire Water","FLAMBOROUGH WWTW","FLAMBOROUGH VILLAGE/STW","WA6514","WA6514",3,"Inlet SO at WwTW","TA2232068130","GB640402491000","Yorkshire South","NORTH SEA/HARTENDALE GUTTER","Flamborough, Flamborough South Landing","Coastal","N/A","Commissioned in 2019 - full BW season data expected",0,0,99.93,null,null,"N/A","N/A","N/A"]
["YWS00186","Yorkshire Water","KETTLEWELL STW","KETTLEWELL/STW","27/19/0078","27/19/0078","A2","Storm tank at WwTW","SD9691071980","GB104027064253","Wharfe from Park Gill Bk to Barben Beck/River Dibb","RIVER WHARFE","Wharfe at Cromwheel, Ilkley","River","N/A","Commissioned in 2019 - full BW season data expected",14,4,100,null,null,"N/A","N/A","N/A"]
["YWS00187","Yorkshire Water","KETTLEWELL STW","KETTLEWELL/STW","27/19/0078","27/19/0078","A3","Inlet SO at WwTW","SD9689072050","GB104027064253","Wharfe from Park Gill Bk to Barben Beck/River Dibb","RIVER WHARFE","Wharfe at Cromwheel, Ilkley","River","N/A","Commissioned in 2019 - full BW season data expected",27.2,30,99.99,null,null,"N/A","N/A","N/A"]
["YWS01311","Yorkshire Water","CHURCH LANE SEWAGE PUMPING STATION","LINTON/CSO","WADC92","WADC92",1,"SO on sewer network","SE0030063200","GB104027064253","Wharfe from Park Gill Bk to Barben Beck/River Dibb","RIVER WHARFE","Wharfe at Cromwheel, Ilkley","River","N/A","Commissioned in 2016 - full BW season data expected",6.5,6,100,null,null,"N/A","N/A","N/A"]
["YWS00185","Yorkshire Water","GRASSINGTON SEWAGE TREATMENT WORKS","GRASSINGTON/STW","27/19/0075","27/19/0075","A2","Inlet SO at WwTW","SE0063962941","GB104027064253","Wharfe from Park Gill Bk to Barben Beck/River Dibb","RIVER WHARFE","Wharfe at Cromwheel, Ilkley","River","N/A","Commissioned in 2019 - full BW season data expected",6,12,100,null,null,"N/A","N/A","N/A"]
["YWS00190","Yorkshire Water","HEBDEN WASTEWATER TREATMENT WORKS","HEBDEN/STW","27/19/0083","27/19/0083","A2","Storm tank at WwTW","SE0269162177","GB104027064253","Wharfe from Park Gill Bk to Barben Beck/River Dibb","RIVER WHARFE","Wharfe at Cromwheel, Ilkley","River","N/A","Commissioned in 2019 - full BW season data expected",0,0,100,null,null,"N/A","N/A","N/A"]
["YWS00177","Yorkshire Water","BURNSALL CAR PARK SPS","BURNSALL CAR PK/CSO","27/19/0054","27/19/0054",1,"Storm discharge at pumping station","SE0319461039","GB104027064253","Wharfe from Park Gill Bk to Barben Beck/River Dibb","RIVER WHARFE","Wharfe at Cromwheel, Ilkley","River","N/A","Commissioned in 2019 - full BW season data expected",25.45,9,100,null,null,"N/A","N/A","N/A"]
["YWS00189","Yorkshire Water","DRAUGHTON WPC WORKS","DRAUGHTON/STW/6XDWF OVERFLOW","27/19/0082","27/19/0082","2b","Inlet SO at WwTW","SE0460053100","GB104027064030","Hambleton Beck/Ings Bk Catch (trib of Wharfe)","INGS BECK","Wharfe at Cromwheel, Ilkley","River","N/A","Commissioned in 2021 - full BW season data expected",64.05,16,99.98,null,null,"N/A","N/A","N/A"]
["YWS00188","Yorkshire Water","DRAUGHTON WPC WORKS","DRAUGHTON PRIORS LANE/CSO","27/19/0082","27/19/0082",2,"SO on sewer network","SE0460053100","GB104027064030","Hambleton Beck/Ings Bk Catch (trib of Wharfe)","INGS BECK","Wharfe at Cromwheel, Ilkley","River","N/A","Commissioned in 2017 - full BW season data expected",12.75,9,99.88,null,null,"N/A","N/A","N/A"]
["YWS00828","Yorkshire Water","BOLTON BRIDGE SPS","BOLTON BRIDGE/CSO","C4062","C4062","A2","Storm discharge at pumping station","SE0721452838","GB104027064257","Wharfe from Barben Beck/River Dibb to Hundwith Beck","RIVER WHARFE","Wharfe at Cromwheel, Ilkley","River","N/A","Commissioned in 2019 - full BW season data expected",6.72,4,99.86,null,null,"N/A","N/A","N/A"]
["YWS01340","Yorkshire Water","BEAMSLEY WASTEWATER TREATMENT WORKS","BEAMSLEY/STW","WRA6885","WRA6885",2,"Inlet SO at WwTW","SE0766052350","GB104027064050","Kex Beck Catchment (trib of Wharfe)","RIVER WHARFE","Wharfe at Cromwheel, Ilkley","River","N/A","Commissioned in 2019 - full BW season data expected",119.99,82,100,null,null,"N/A","N/A","N/A"]
["YWS00191","Yorkshire Water","LOW MILL LANE 179 CSO","LOW MILL LANE 179/CSO","27/19/0092","27/19/0092",1,"SO on sewer network","SE0871049560","GB104027064257","Wharfe from Barben Beck/River Dibb to Hundwith Beck","TOWN BECK","Wharfe at Cromwheel, Ilkley","River","N/A","Commissioned in 2017 - full BW season data expected",3.5,3,69.430000000000007,"Sensor failure / issue","Scheduled","N/A","N/A","N/A"]
["YWS00144","Yorkshire Water","ADDINGHAM NO.1 STORM TANKS","ADDINGHAM/NO 1 SPS/PRELIMINARY TREATMENT-STW/3XDWF OVERFLOW","2482","2482","A1","Storm discharge at pumping station","SE0900049000","GB104027064257","Wharfe from Barben Beck/River Dibb to Hundwith Beck","RIVER WHARFE","Wharfe at Cromwheel, Ilkley","River","N/A","Commissioned in 2019 - full BW season data expected",102.72,17,99.98,null,null,"N/A","N/A","N/A"]
["YWS00145","Yorkshire Water","ADDINGHAM NO.1 STORM TANKS","ADDINGHAM/NO 1 SPS/PRELIMINARY TREATMENT-STW/6XDWF OVERFLOW","2482","2482","A2","Storm discharge at pumping station","SE0900049000","GB104027064257","Wharfe from Barben Beck/River Dibb to Hundwith Beck","RIVER WHARFE","Wharfe at Cromwheel, Ilkley","River","N/A","Commissioned in 2019 - full BW season data expected",12.67,16,99.96,null,null,"N/A","N/A","N/A"]
["YWS00179","Yorkshire Water","BRIDGE LANE SEWAGE PUMPING STATION","BRIDGE LANE/CSO","27/19/0058","27/19/0058",1,"Storm discharge at pumping station","SE1128048060","GB104027064257","Wharfe from Barben Beck/River Dibb to Hundwith Beck","SPICEY GILL","Wharfe at Cromwheel, Ilkley","River","N/A","Commissioned in 2017 - full BW season data expected",0,0,100,null,null,"N/A","N/A","N/A"]
["YWS00674","Yorkshire Water","RIVADALE VIEW CSO","RIVADALE VIEW/CSO","3166(SS)","3166(SS)","A1","SO on sewer network","SE1170048000","GB104027064257","Wharfe from Barben Beck/River Dibb to Hundwith Beck","RIVER WHARFE","Wharfe at Cromwheel, Ilkley","River","N/A","Commissioned in 2019 - full BW season data expected",28.75,14,100,null,null,"N/A","N/A","N/A"]
["YWS00176","Yorkshire Water","MIDDLETON (ILKLEY) PUMPING STATION","ILKLEY MIDDLETON/CSO","27/19/0052","27/19/0052",1,"Storm discharge at pumping station","SE1215048470","GB104027064257","Wharfe from Barben Beck/River Dibb to Hundwith Beck","RIVER WHARFE","Wharfe at Cromwheel, Ilkley","River","N/A","Commissioned in 2019 - full BW season data expected",43.03,11,99.96,null,null,"N/A","N/A","N/A"]
["YWS00033","Yorkshire Water","WEATHERBY HIGH STREET CSO","WETHERBY HIGH STREET/CSO","1553","1553","A1","Storm discharge at pumping station","SE4045447994","GB104027064255","Wharfe from Collingham Beck to Tadcaster Weir","RIVER WHARFE","Wharfe at Wilderness Carpark","River","N/A","Commissioned in 2018 - full BW season data expected",0.25,1,100,null,null,"N/A","N/A","N/A"]
["YWS00218","Yorkshire Water","WATTLE SYKE CSO","WATTLE SYKE/CSO","27/20/0161","27/20/0161",1,"Storm discharge at pumping station","SE3944046420","GB104027064255","Wharfe from Collingham Beck to Tadcaster Weir","RIVER WHARFE","Wharfe at Wilderness Carpark","River","N/A","Commissioned in 2017 - full BW season data expected",0,0,100,null,null,"N/A","N/A","N/A"]
["YWS00231","Yorkshire Water","ABBEY ROAD NO 2 CSO","ABBEY ROAD/NO 2 CSO","27/21/0123","27/21/0123","A1","Storm discharge at pumping station","SE3512356374","GB104027068297","Nidd from Oak Beck to Low Bridge on Briggate (Knaresborough)","RIVER NIDD","Nidd at the Lido, Knaresborough","River","N/A","Commissioned in 2016 - full BW season data expected",14.5,12,100,null,null,"N/A","N/A","N/A"]
["YWS00273","Yorkshire Water","WATERSIDE 47 CSO","WATERSIDE 47/CSO","27/21/0259","27/21/0259","A1","Storm discharge at pumping station","SE3474156787","GB104027068297","Nidd from Oak Beck to Low Bridge on Briggate (Knaresborough)","MILL STREAM","Nidd at the Lido, Knaresborough","River","N/A","Commissioned in 2016 - full BW season data expected",14,10,99.9,null,null,"N/A","N/A","N/A"]
["YWS00274","Yorkshire Water","WATERSIDE 48 CSO","WATERSIDE 48/CSO","27/21/0260","27/21/0260","A1","Storm discharge at pumping station","SE3470756706","GB104027068297","Nidd from Oak Beck to Low Bridge on Briggate (Knaresborough)","MILL STREAM","Nidd at the Lido, Knaresborough","River","N/A","Commissioned in 2016 - full BW season data expected",27.75,13,85.7,"Sensor failure / issue","Scheduled","N/A","N/A","N/A"]
["YWS00275","Yorkshire Water","WATERSIDE 49 CSO","WATERSIDE 49/CSO","27/21/0261","27/21/0261","A1","Storm discharge at pumping station","SE3457557131","GB104027068297","Nidd from Oak Beck to Low Bridge on Briggate (Knaresborough)","RIVER NIDD","Nidd at the Lido, Knaresborough","River","N/A","Commissioned in 2016 - full BW season data expected",7.5,6,99.41,null,null,"N/A","N/A","N/A"]
["YWS00277","Yorkshire Water","CRAGG TOP COMBINED SEWER OVERFLOW","CRAGG TOP/CSO","27/21/0263","27/21/0263",1,"Storm discharge at pumping station","SE3513056250","GB104027068297","Nidd from Oak Beck to Low Bridge on Briggate (Knaresborough)","RIVER NIDD","Nidd at the Lido, Knaresborough","River","N/A","Commissioned in 2016 - full BW season data expected",3.25,7,96.55,null,null,"N/A","N/A","N/A"]
["YWS00279","Yorkshire Water","SPITAL CROFT CSO","SPITAL CROFT/CSO","27/21/0265","27/21/0265","A1","Storm discharge at pumping station","SE3511656231","GB104027068298","Nidd from Low Bridge on Briggate (Knaresborough) to Crimple Beck","RIVER NIDD","Nidd at the Lido, Knaresborough","River","N/A","Commissioned in 2016 - full BW season data expected",12,8,100,null,null,"N/A","N/A","N/A"]
["YWS00576","Yorkshire Water","ENDEAVOUR WHARF PUMPING STATION","ENDEAVOUR WHARF/CSO","27/29/0040","27/29/0040",1,"Storm discharge at pumping station","NZ9053011620","GB650401500004","Yorkshire North","THE NORTH SEA AND RIVER ESK","Whitby","Coastal","N/A","Commissioned in 2020 - full BW season data expected",82.18,30,100,null,null,"N/A","N/A","N/A"]
["YWS00578","Yorkshire Water","PIER ROAD CSO","WHITBY PIER ROAD/CSO","27/29/0041","27/29/0041",1,"Storm discharge at pumping station","NZ8984011200","GB510402703400","ESK (E)","RIVER ESK (TIDAL)","Whitby","Coastal","N/A","Commissioned in 2018 - full BW season data expected",1.5,3,100,null,null,"N/A","N/A","N/A"]
["YWS00595","Yorkshire Water","EAST CRESCENT CSO","EAST CRESCENT/CSO","27/29/0074","27/29/0074","A1","Storm discharge at pumping station","NZ8986011368","GB510402703400","ESK (E)","RIVER ESK TIDAL","Whitby","Coastal","N/A","Commissioned in 2018 - full BW season data expected",0.42,2,99.9,null,null,"N/A","N/A","N/A"]
["YWS00597","Yorkshire Water","CRESCENT TERRACE CSO","CRESCENT TERRACE/CSO","27/29/0076","27/29/0076","A1","Storm discharge at pumping station","NZ8986011380","GB510402703400","ESK (E)","RIVER ESK (TIDAL)","Whitby","Coastal","N/A","Commissioned in 2019 - full BW season data expected",1.75,4,100,null,null,"N/A","N/A","N/A"]
["YWS00603","Yorkshire Water","ESPLANADE WHITBY CSO","ESPLANADE WHITBY/CSO","27/29/0088","27/29/0088","A1","Storm discharge at pumping station","NZ8986111380","GB510402703400","ESK (E)","RIVER ESK","Whitby","Coastal","N/A","Commissioned in 2018 - full BW season data expected",19.5,11,99,null,null,"N/A","N/A","N/A"]
["YWS01201","Yorkshire Water","WETHERBY BYPASS CSO","WETHERBY BYPASS/CSO","WADC1477","WADC1477","A1","Storm discharge at pumping station","SE4062847685","GB104027064255","Wharfe from Collingham Beck to Tadcaster Weir","RIVER WHARFE","Wharfe at Wilderness Carpark","River","N/A","Commissioned in 2018 - full BW season data expected",0.5,2,100,null,null,"N/A","N/A","N/A"]
["YWS01302","Yorkshire Water","CLEVELAND AVENUE SSO","CLEVELAND AVENUE/CSO","WADC835","WADC835","A1","Storm discharge at pumping station","TA0295089850","GB104027067980","Burniston Beck/Sea Cut/Scalby Beck Catch to N Sea","TRIB TO FOUL SEWER","Scarborough North Bay","Coastal","N/A","Commissioned pre-2016 - full BW season data expected",1,3,99.8,null,null,"N/A","N/A","N/A"]
["YWS02242","Yorkshire Water","ROYAL HOTEL CSO","ROYAL HOTEL/CSO","EPRBB3996EY","EPR/BB3996EY","A1","Storm discharge at pumping station","NZ8986011368","GB510402703400","ESK (E)","RIVER ESK","Whitby","Coastal","N/A","Commissioned in 2018 - full BW season data expected",0.5,1,99.8,null,null,"N/A","N/A","N/A"]
["YWS00195","Yorkshire Water","WETHERBY SEWAGE TREATMENT WORKS","WETHERBY/STW","27/20/0054","27/20/0054","A2","Storm tank at WwTW","SE4162846977","GB104027064255","Wharfe from Collingham Beck to Tadcaster Weir","RIVER WHARFE","Wharfe at Wilderness Carpark","River","N/A","Commissioned in 2020 - full BW season data expected",48.72,12,99.92,null,null,"N/A","N/A","N/A"]
["YWS00204","Yorkshire Water","LANGWITH VALLEY SPS","LANGWITH VALLEY/CSO","27/20/0083","27/20/0083 2",2,"Storm discharge at pumping station","SE3732045940","GB104027064254","Wharfe from R Washburn to Collingham Beck","WHARFE","Wharfe at Wilderness Carpark","River","N/A","Commissioned in 2018 - full BW season data expected",2.75,6,99.98,null,null,"N/A","N/A","N/A"]
["YWS00276","Yorkshire Water","BOROUGHBRIDGE ROAD CSO","BOROUGHBRIDGE ROAD/CSO","27/21/0262","27/21/0262 1",1,"SO on sewer network","SE3483057400","GB104027068297","Nidd from Oak Beck to Low Bridge on Briggate (Knaresborough)","FROGMIRE DYKE","Nidd at the Lido, Knaresborough","River","N/A","Commissioned in 2016 - full BW season data expected",2,5,100,null,null,"N/A","N/A","N/A"]
["YWS00278","Yorkshire Water","ABBEY MILL CSO","ABBEY MILL/CSO","27/21/0264","27/21/0264 A1","A1","SO on sewer network","SE3601055960","GB104027068298","Nidd from Low Bridge on Briggate (Knaresborough) to Crimple Beck","RIVER NIDD","Nidd at the Lido, Knaresborough","River","N/A","Commissioned in 2017 - full BW season data expected",0,0,95.23,null,null,"N/A","N/A","N/A"]
["YWS01160","Yorkshire Water","COLLINGHAM LEEDS ROAD CSO","COLLINGHAM LEEDS ROAD/CSO","WADC1192","WADC1192","A1","SO on sewer network","SE3768745219","GB104027063970","Collingham Bk Catchment (trib of Wharfe)","COLLINGHAM BECK","Wharfe at Wilderness Carpark","River","N/A","Commissioned in 2016 - full BW season data expected",102.75,23,98.22,null,null,"N/A","N/A","N/A"]
["YWS01175","Yorkshire Water","SCOTT LANE CSO","SCOTT LANE/CSO","WADC1313","WADC1313 1",1,"SO on sewer network","SE4030448013","GB104027064255","Wharfe from Collingham Beck to Tadcaster Weir","RIVER WHARFE","Wharfe at Wilderness Carpark","River","N/A","Commissioned in 2018 - full BW season data expected",6.25,10,100,null,null,"N/A","N/A","N/A"]