Drought Permit – modify existing abstraction Section 79A Water Resources Act 1991 as amended by the Environment Act 1995 The Environment Agency (“the Agency”) grants this drought permit to:

| Yorkshire Water Services Limited | (“the water company”) |
| --- | --- |
| Western House Halifax Road Bradford West Yorkshire BD6 2SZ Registered Company Number: 02366682 |  |

| This drought permit modifies abstraction licence NE/027/0016/021 in relation to Doe Park Reservoir as set out in the Schedule of Conditions to this drought permit. This drought permit commences from the effective date shown below and shall remain in force until the date of expiry shown below. All other provisions of the licence remain in full force and effect. |  |
| --- | --- |
| Signed Type name Job title (e.g. Area Director) Environment Agency Lateral House 8 City Walk Leeds LS11 9AT | Date of issue………………...…DD MONTH YYYY Date effective ………………… DD MONTH YYYY Date of expiry……………….… DD MONTH YYYY |

| SCHEDULE OF CONDITIONS |  |
| --- | --- |
| 1. | COMPENSATION FLOW |
| 1.1 | Condition 4.1 of the abstraction licence in relation to Doe Park Reservoir is substituted with the following: Unless condition 1.2 of this drought permit applies, the water company shall make a uniform and continuous release of compensation flow of not less than 1,800 cubic metres per day from Doe Park Reservoir to Denholme Beck at National Grid Reference SE 07779 34112 or other location as agreed in writing by the Agency. A day means any period of 24 consecutive hours reckoned from 9.00am. |
| 1.2 | If the regional reservoir stocks are below the regional Drought Control Line as defined in section 2 of the Yorkshire Water Drought Plan for a period of more than four consecutive weeks then the water company shall make a uniform and continuous release of compensation flow of not less than 1,200 cubic metres per day from Doe Park Reservoir to Denholme Beck at National Grid Reference SE 07779 34112 or other location as agreed in writing by the Agency. A day means any period of 24 consecutive hours reckoned from 9.00am. Condition 4.1 of the abstraction licence shall cease to have effect between date and date inclusive. |
|  | Measurement and recording conditions. |
| 2. | ENVIRONMENTAL MONITORING AND MITIGATION |
| 2.1 | The water company shall undertake the monitoring as set out in Appendix number(s) attached to this permit. |
| 2.2 | If the monitoring identifies signs of environmental distress, the following actions shall be undertaken by the water company: |
| 2.2.1 | (i) upon finding any signs of environmental problems the water company shall notify the Agency in writing and by telephone on 0800 80 70 60 and shall provide details of the signs of distress and the location; (ii) the water company shall undertake a remedial course of action to address the signs of environmental problems, as directed in writing by the Agency. |
| 2.2.2 | If, upon being notified of any signs of environmental problems in accordance with condition 2.2.1(i), the Agency gives written notice that there is a disruption to the ecology and reservoir stock levels are above a specified control line agreed with the Environment Agency, the water company shall increase compensation flow from Doe Park Reservoir to Denholme Beck at National Grid Reference SE 07779 34112 to a rate of not less than 3,600 cubic metres per day, or a lesser quantity if agreed in writing by the Agency. The increase in compensation flow to the Denholme Beck shall continue until the Agency serves a subsequent written notice stating that the reduction in compensation flow in accordance with conditions 1.1 and 1.2 of this drought permit may be resumed. |
| 2.3 | The changes to the compensation water specified in conditions 1.1, 1.2 and 2.2.2 of this drought permit shall be made in a steady and controlled manner at a rate so as not to cause any flooding of land or disturbance to water users downstream or any adverse effects on the quality of water in the inland water or any adverse impacts on the ecology of the inland water or dependent ecosystems. |

ADDITIONAL INFORMATION

Note: the following information is provided for information only. It does not form part of the licence.

REASONS FOR MODIFICATIONS AND CONDITIONS

Condition 2 of this drought permit has been included to mitigate against any environmental problems that may be caused by or affected by the water company reducing compensation flows.

IMPORTANT NOTES Environmental Monitoring Plan The conditions and monitoring incorporated on this permit is in addition to the Environmental Monitoring Plan agreed between the Agency and the water company. Mitigation With regards to condition 2 the Agency will take into consideration any other actions the water company are taking or plan to take in order to mitigate effects on the environment, such as mitigation actions identified in their ‘Assessment to Accompany Drought Permit Applications for the North West Area Reservoirs’ Environmental Assessment Report, DATE. For the purpose of condition 2.2.1 the water company shall notify the Agency via email to: EMAIL.ADDRESS@environment-agency.gov.uk and by telephone on 0800 80 70 60 and make reference to that fact that this is in regard to the ‘Damflask Drought Permit.’

APPENDIX 1

ENVIRONMENTAL MONITORING SCHEDULE: STANDARD SCHEDULE

| Assessment Type | To be confirmed |
| --- | --- |
| Duration of Monitoring | To be confirmed |
| Environmental Distress | To be confirmed |
| Monitoring Method & Standard of Assessment | To be confirmed |
| Frequency of monitoring | To be confirmed |
| Location of Monitoring | To be confirmed |
| Survey Results | To be confirmed |
| Responsibility | To be confirmed |

APPENDIX 2

ENVIRONMENTAL MONITORING SCHEDULE: SHORT-TERM POLLUTION SCHEDULE

| Assessment Type | To be confirmed |
| --- | --- |
| Duration of Monitoring | To be confirmed |
| Environmental Distress | To be confirmed |
| Monitoring Method & Standard of Assessment | To be confirmed |
| Frequency of monitoring | To be confirmed |
| Location of Monitoring | To be confirmed |
| Survey Results | To be confirmed |
| Responsibility | To be confirmed |

Any cumulative reach monitoring tables in additional appendices here.