Yorkshire Water Drought Permit Application

River Derwent Supporting Information

Contents

1.0	Introduction	7

1.1.	The Yorkshire Water Supply area	7

2.0	Drought permit description	11

2.1.	Location	11

2.2.	Water resource management arrangements relating to the application	11

2.3.	Abstraction from the River Derwent under permit proposal	15

3.0	Drought permit justification	17

3.1.	Why we need a drought permit	17

3.2.	Benefits of this drought permit	18

3.3.	Deficiency of supplies due to an exceptional shortage of rain	18

3.4.	Reservoir Stocks	24

3.5.	River Flows	29

3.6.	The effects of the current water shortage	30

3.7.	Population affected by the drought permit	31

3.8.	Summer 2022 demand	31

3.9.	Leakage control	34

3.10.	Demand on the affected water source	36

3.11.	Drought permit alternatives considered	37

3.12.	Consequences if the drought permit is not granted	37

4.0	Actions taken to reduce demand and conserve supplies	39

4.1.	Demand management during normal operating conditions	39

4.2.	Metering	40

4.3.	Leakage reduction activity	41

4.4.	Trigger: Reservoirs crossed our normal control line	42

4.5.	Trigger: Reservoirs crossed Environment Agency early warning trigger line	42

4.6.	Trigger: Reservoir stocks predicted to be 10 weeks from crossing the drought control line	45

4.7.	Trigger: Reservoir stocks predicted to be 8 weeks from crossing the drought control line	45

4.8.	Trigger: Reservoir stocks predicted to be 6 weeks from crossing the drought control line	45

4.9.	The use of sources in 2022	47

5.0	Environmental impacts of drought permit	53

6.0	Water Supply Strategy for continuation of drought	54

6.1.	Operational changes we will make to avoid future drought-related problems	56

7.0	Notices and advertisements relating to application	57

7.1.	Public inspection arrangements	57

7.2.	Environment Agency	58

7.3.	Natural England	58

7.4.	Navigation Authority	58

7.5.	Internal Drainage Board	58

7.6.	Yorkshire Derwent Catchment Partnership	58

7.7.	Retailers	58

8.0	Appendices	60

Appendix 1: Exceptional Shortage of Rainfall	60

Appendix 2: Summary of water saving communications	68

Appendix 3: Notice relating to the River Derwent drought permit applications	76

# Introduction

This drought permit application contains a drought option from Yorkshire Water’s Drought Plan 2022. An application is being made for permits to vary abstraction permissions on the River Derwent at Elvington and at Loftsome Bridge for the 2022/2023 licence year. The application requests an increase in the annual abstraction limit at Loftsome Bridge, and a corresponding decrease in the annual abstraction limit at Elvington. The daily limits at the two sites and the daily and annual aggregate volumes will not change.

If this application is granted, the changes will be in place until 31 March 2023 inclusive. We have submitted a drought permit application form (WR80) for the two sites to the Environment Agency and this document provides supporting information. A draft permit (form WR82), with details of the temporary licence changes, has also been prepared and a copy is provided in support of this application.

The sites are included as drought options in the Yorkshire Water Drought Plan 2022 available to view on the Yorkshire Water website (https://www.yorkshirewater.com/about-us/resources/drought-plan/). In accordance with regulatory requirements Yorkshire Water has a Drought Plan that sets out the actions it can implement in a drought. The Drought Plan is revised every five years and submitted to Defra.

By increasing river abstractions during winter, we reduce the volume we put into supply from reservoirs. This helps reservoirs refill and therefore reduces the likelihood of Yorkshire Water needing to apply for drought permits to increase available supplies in summer 2023, which could be more detrimental for the environment.

The potential environmental impacts of implementing the drought permits have been considered and an environmental assessment report is provided in support of the application.

## The Yorkshire Water Supply area

Yorkshire Water supplies water to over five million customers. Under normal weather conditions, approximately 45% of this water is from impounding reservoirs, 30% from rivers and 25% from boreholes (groundwater). However, this varies from year to year depending on weather conditions. In dry years rivers are used more, with about 40% of supply coming from reservoirs, 40% from rivers and 20% from groundwater. By increasing river abstraction, we make use of supplies that would otherwise be lost and this allows us to retain reservoir and groundwater supplies for longer. In normal weather conditions reservoir and groundwater stocks are replenished through rainfall and we do not need to rely on rivers as much.

For planning purposes, the Yorkshire supply region is divided into two water resource zones, as shown in Figure 1.1. The majority of our region is within our Grid Surface Water Zone (Grid SWZ), with 1% of customers in our East Surface Water Zone (East SWZ). The Grid SWZ has an integrated supply network dominated by the operation of lowland rivers and Pennine reservoirs. The East SWZ, is a much smaller zone covering Whitby and the surrounding area. It is supplied by a river abstraction and moorland springs in the Whitby area. We are not applying for any drought permits in our East SWZ.

Our Grid SWZ includes five interconnected operating areas, which we refer to as our North, North West, South, South West and East areas. Water abstracted from the River Derwent at Loftsome Bridge and Elvington is treated at nearby water treatment works and put into our 'grid system’ which is used to provide additional water to the operating areas in our Grid SWZ as required. In addition to this drought permit application, we have obtained a drought permit for our River Wharfe at Lobwood abstraction licence and also drought permits to reduce compensation flow requirements in the South Area and North West area.  We have also been granted a drought order relating to river abstractions on the River Ouse.

Figure 1.1: Water resource zones

Our Drought Plan 2022 includes 49 drought options that are designed to conserve reservoir supplies or provide additional river or groundwater supplies when droughts occur in our Grid SWZ. The majority (43) of our drought options are related to reservoir compensation releases. We have a high number of these as there are over 100 reservoirs in our region. We also have six drought options in our Drought Plan relating to existing river abstractions. These can be used to provide additional resources to our Grid SWZ without the need for any new infrastructure. This drought order application relates to one of these six options. If granted, it would increase the allowed annual abstraction from the River Derwent at Loftsome Bridge, and correspondingly decrease the allowed abstraction at Elvington, effectively moving some of the licence downstream.

We operate our Grid SWZ to balance resources through our five operating areas rather than drawing down individual reservoir groups in each area. Our river sources can be used in preference to reservoir supplies when stocks are low in order to conserve resources for later in the year if we do not receive sufficient rainfall for stocks to recover. Our Drought Plan is designed to implement drought actions, when needed, across our Grid SWZ to provide benefits regionally rather than at a local level. During droughts our use of river sources can be limited by licence conditions which restrict abstractions at low flows. Drought permits, if granted, can temporarily alter these restrictions in order to provide additional water for supply to customers if our normal resources are low due to exceptional shortage of rainfall.

We are applying for drought permits that will enable us to implement several of the drought options in our Drought Plan (a list of these options is provided in Section 6.0). The permit applications have been selected through modelling and analysis of our drought plan options. We have prioritised our permit applications to those that will offer the maximum benefits to protecting public water supply in the current situation.

Figure 1.2: Grid SWZ integrated network

Figure 1.2 is an outline of our grid network, which connects most of the water resources in our Grid SWZ; the River Derwent abstractions are an essential part of this system. The grid network enables highly effective conjunctive use of different water resources through the use of raw and treated water pipelines. Water abstracted from the river intakes is treated and used to support the five operating areas either directly or indirectly, so they are not solely dependent on local resources.

During dry weather we aim to maximise use of river sources to conserve reservoir stocks for longer. However, this year we have experienced periods of exceptionally low rainfall as well as periods of high demand. At times we have had to maximise use of rivers and reservoirs simultaneously and during periods of low river flow we have had to rely on reservoir supplies. Balancing the drawdown of reservoirs across the zone through use of our grid system helps to make our region more resilient to supply risks. However, following exceptional weather conditions during 2022, stocks in the reservoirs across our region are lower than average. Our use of the licences in this application is described in Section 4.9.

As a result of the low rainfall since March our reservoirs were well below average through spring and summer, and there was a risk to security of supply if we did not take action to conserve reservoir stocks as much as possible.  We are applying for drought permits to conserve supplies in reservoirs in case the dry weather continues and to ensure that we have resilient supplies through the winter, recognising the additional support that our river abstractions provided to supplies during this year's dry weather.  The current permit application will, if granted, increase our permitted annual abstracted volume from the River Derwent at Loftsome Bridge and correspondingly reduce our permitted abstraction from the River Derwent at Elvington. This will allow us to treat more water at Loftsome Bridge WTW as the River Derwent is its only source of supply. This increased abstraction will be used to support our operating areas. This will reduce the volume we take from reservoirs, helping them refill during the winter of 2022/2023, and help to ensure resilient supplies through the winter period. The shortfall in supplies to Elvington WTW caused by the reduction in the Elvington abstraction on the River Derwent will be met by the Moor Monkton abstraction from the River Ouse.

# Drought permit description

Yorkshire Water can abstract water from the River Derwent under the terms of two abstraction licence agreements held with the Environment Agency. Copies of the licence agreements are provided.

## Location

The two abstraction points relating to this permit application are on the River Derwent in North Yorkshire. The Elvington intake (grid reference SE 71 49) is north of the village of Elvington and approximately 11km south east of the city of York. It is approximately 23km upstream of the Loftsome Bridge intake (grid reference SE 70 30). The Loftsome Bridge intake is approximately 7km south east of Selby and around 2.5km upstream of where the River Derwent meets the River Ouse near the village of Barmby on the Marsh. This reach of the River Ouse is tidal and at the River Derwent confluence is Barmby Barrage. The barrage prevents tidal water entering the River Derwent.

A location map of the two abstraction points is provided in Figure 2.1.

## Water resource management arrangements relating to the application

We are authorised to abstract water from the River Derwent at Elvington under licence serial number 2/27/28/017. The abstraction licence for Elvington is limited to 205 megalitres per day (Ml/d) and 75,000 megalitres per year (Ml/year).

The River Derwent abstraction at Loftsome Bridge is permitted under a separate licence, serial number 2/27/28/083. The abstraction at Loftsome Bridge is limited to 114Ml/d and 30,400 Ml/year.

In addition to the above stated daily and annual abstraction limits, both licences state an aggregate daily and annual limit for the total combined abstraction from the two intakes. These are 305Ml/d and 94,841 Ml/year.

Yorkshire Water is currently operating within the terms and conditions of the licence agreements held with the Environment Agency to abstract from the River Derwent at Loftsome Bridge and at Elvington.

Figure 2.1 River Derwent abstractions location map

Figure 2.2 Schematic showing the River Derwent abstractions and grid connections

The water abstracted at Elvington intake is treated at Elvington WTW, which can also treat water abstracted at Moor Monkton on the River Ouse. The water abstracted at Loftsome Bridge intake is treated at Loftsome Bridge WTW. Loftsome Bridge WTW can supply Hull to the east or can be transferred to supply water to the grid. Elvington WTW supports supplies in York, and also supplies the grid. The grid can directly support supplies in Leeds, Sheffield, Wakefield, Kirklees and Calderdale, and by supporting these areas and allowing sources in these areas to be transferred, can thereby support stocks in Harrogate, Bradford and other areas of Yorkshire.

In general, the use of reservoirs is maximised when stocks are above the Normal Control Line (NCL). Control lines are discussed in Section 3.3. When reservoir stocks are below the NCL the abstraction is reduced to the reservoir yield where possible, and the use of rivers is increased. A schematic showing the grid system connection to the River Derwent abstractions is provided in Figure 2.2.

The output from Elvington and Loftsome Bridge WTWs is required to ensure Yorkshire is supplied with water.

## Abstraction from the River Derwent under permit proposal

The drought permit application for the River Derwent is to increase the annual abstraction limit at Loftsome Bridge by 2,300 Ml/year, and to decrease the annual abstraction limit at Elvington by the same amount (2,300 Ml/year). The daily limits at each site, and both daily and annual aggregate volumes would be unchanged.

The current annual and daily maximum abstraction licence permissions at Loftsome Bridge and Elvington on the River Derwent and proposed changes for the duration of the drought permit are shown in Table 2.1, (changes highlighted yellow).

|  | Current Licence conditions |  | Proposed drought permit conditions |  |
| --- | --- | --- | --- | --- |
|  | Daily maximum Ml/d | Annual total Ml | Daily maximum Ml/d | Annual total Ml |
| Elvington | 205 | 75,000 | 205 | 72,700 |
| Loftsome Bridge | 114 | 30,400 | 114 | 32,700 |
| Combined | 305 | 94,841 | 305 | 94,841 |

Table 2.1: Current Licence and Drought Permit proposals

The drought permit application is to temporarily amend the licences to allow an increased annual abstraction limit of 32,700Ml (an increase of 2,300Ml) at Loftsome Bridge and decrease the annual abstraction limit at Elvington to 72,700Ml (a decrease of 2,300Ml) for the licensing year 2022/2023, from the date which the permit is granted until 31st March 2023 inclusive.

The abstraction rates (daily maxima and combined annual maxima) specified in the licences are unchanged. This means that the total maximum abstraction from the River Derwent is unchanged, but that less will be taken at Elvington and instead more will be taken downstream at Loftsome Bridge.

In the period 1st April 2022 to 4th November 2022 (59% through the licence year) we have used 50% of the annual licensed quantity for the River Derwent at Elvington, 59% of the annual licence for the River Derwent at Loftsome Bridge, and 58% of the aggregate licence. Without the change we are applying for in this permit we would be restricted to an average of 83 Ml/d until 31st March 2023 at Loftsome Bridge, and 205Ml/d at Elvington, although this would be limited to 183Ml/d by the aggregate licence.  This would be adequate for a normal year but would not allow us to adequately deal with a high demand freeze thaw event.  With these permits in place, we could abstract up to an average of 96Ml/d at Loftsome Bridge, and 170Ml/d at Elvington. Having the permit in place would allow us to have the flexibility to operate as required by the situation, and balance our abstractions as needed, up to the combined remaining licence allowed of 266Ml/d on average.  Any shortfall at Elvington WTW could be made up by abstractions from the River Ouse at Moor Monkton.

During 2022 our reservoirs stocks have been low following the high summer demand and below average rainfall. During the winter demand is generally lower than summer but if temperatures fall below zero degrees Celsius pipes often freeze and then break as they thaw when temperatures rise again. This “freeze-thaw” can lead to an increase in bursts on our supply network and in customers’ properties and therefore an increase in winter demand. If we were to experience a period of high winter demands, we would need to be able to maximise abstractions at Loftsome Bridge to meet demand. In order to ensure we have enough licence remaining to meet high winter demands without this drought permit, we would soon have to reduce abstractions at Loftsome Bridge, and increase the use of already depleted reservoirs.

# Drought permit justification

This drought permit application is necessary due to an exceptional shortage of rain threatening a serious deficiency of supplies of water in the area supplied by Yorkshire Water. Evidence to demonstrate the exceptional shortage of rain is provided below.

We are applying for a drought permit on the River Derwent to conserve reservoir stocks in case we experience high demands over the winter period. The drought permit will allow us to continue our use of the River Derwent at Loftsome Bridge at the current rate. This will reduce the volume of water we are required to put into supply from reservoirs so that we conserve the supply for use later in the year.

## Why we need a drought permit

Our Grid SWZ has an interconnected network (grid system) that enables highly effective conjunctive use of the available water resources using raw and treated water pipelines. During dry weather we aim to maximise use of river sources to conserve reservoir stocks for longer. However, during 2022 we have experienced periods of exceptionally low rainfall as well as periods of very high demand; this has led to greater draw down of reservoirs, and the below average rainfall has meant reservoirs have not refilled.

Rainfall over the winter period of 2021/22 was very variable, it was dry until January with reservoir stocks at 87% full at the start of the year. A very wet February meant that stocks recovered to 95% full by the end of February 2022. However, rainfall was significantly below long term average (LTA) in March and April, with stocks falling to 87% at the end of April.

Reservoir stocks crossed our ‘Normal Control Line’ in mid-March 2022. This triggered additional activity to manage water resources and to abstract, treat and distribute more water from rivers to reduce our draw on reservoir stocks. This activity continued during the summer and autumn as the water resources position recovered, meaning we have been using our river abstractions more this year than we would during a normal year. We have used our grid system to move water up to 70 miles from river sources to areas in the south and west of the region which are usually supplied by local reservoirs. Throughout this period, we have been managing reservoir levels to ensure, as far as possible, that stocks are drawn down evenly across all areas.

In June and July, we experienced high customer demand due to ongoing dry weather coupled with a period of high (and very high) temperatures. The very high temperatures were unprecedented, with the highest temperatures ever being recorded across the UK, and the first ever Met Office red weather warning for heat being issued. At times we had to maximise use of rivers and reservoirs simultaneously to meet customer demand, and during periods of low river flow we had to rely on reservoir supplies more than would normally be the case.  Reservoir levels have generally recovered well through the autumn, up to the end of November.

We are applying for a drought permit on the River Derwent to help aid and protect the recovery of reservoir stocks in our Grid SWZ during the winter months.  By implementing the permits during winter, we expect them to have less environmental impact than they would if we had to implement in the summer if reservoir stocks did not receive sufficient refill through rainfall alone. Furthermore, by maximising our prospects for winter recovery, we will decrease the likelihood of requiring permits in 2023 during the more environmentally sensitive spring and summer periods.

## Benefits of this drought permit

The proposed increase in the annual licensed quantity at Loftsome Bridge would allow us to maximise the abstraction up to the permitted daily limits when required.  It will allow us to maximise river abstractions during winter at a time when river flows are higher than they are during spring and summer.  We believe this will have minimal environmental impacts (Section 5.0 describes our environmental assessment process). as the permit could result in an additional 13Ml/d of water in the reach between Elvington and Loftsome Bridge intakes, and no net change below Loftsome Bridge.  It will enable us to use the full licence on the River Derwent, at the same time as transferring water from Moor Monkton when flows are also in the higher flow bands on the River Ouse.

In 2022 we have abstracted more than we usually would have by this time of year due to the high summer demands experienced, particular through June and July (see Section 3.10).  During most winters we would use the river abstractions at lower rates, with reservoirs providing a larger proportion of supply. With reservoirs low, we need to abstract more from the River Derwent, but we are constrained by the annual permitted licence volume.

We have considered all options and this permit application has been identified as being the best option for the current situation.  Very high demands have led to an increase in abstractions from all sources to meet peak demands and from river sources to support reservoir stocks. If we were able to continue the use of the river abstractions at a higher rate over the winter, this would aid and protect the recovery of reservoir stocks and put us in a better position for the spring and summer of 2023.

By transferring a small amount of the Elvington Licence to Loftsome Bridge, our flexibility to respond to operational needs is increased.  We would be able to maximise the amount of water treated at Loftsome Bridge by increasing abstraction there, and we could at the same time maximise treated water at Elvington by transferring water from the Moor Monkton abstraction on the River Ouse.  There is minimal impact on the environment as, if this permit were not granted, we would take the same volume of water from the River Derwent, but by maximising abstraction at Elvington and adhering to the Loftsome Bridge annual licence. However, this would mean we would not be making as much use of the Moor Monkton transfer to Elvington WTW and therefore reduce the volume of river water we are able to use instead of reservoir stocks.

| Reservoir group | Potential Benefit on 1 April 2023 |
| --- | --- |
| Regional stocks | 1.3% |
| South West Group stocks | 5.2% |
| South Stocks | 6.7% |

Table 3.1: Drought permit benefits

The benefits that could be achieved if this permit is granted are summarised in Table 3.1 and include improved flexibility and an increase in regional reservoir stocks of up to 1.3% on 1 April 2023, (equivalent to the volume of the additional abstraction at Loftsome Bridge).  It may be that we may not need to implement this permit if we do not experience high demands in the winter, but if there is a prolonged cold spell resulting in freeze thaw and associated high demands, we will need to maximise the output of both Elvington and Loftsome Bridge WTWs.

## Deficiency of supplies due to an exceptional shortage of rain

Our drought triggers include data from a number of sources – rainfall, river flows, ground water levels and reservoir levels.  This section provides a regional overview of conditions across the Yorkshire Water area and details the analyses we have carried out on rainfall and climate data in Yorkshire which are relevant to this application. We have included the following analyses:

- Standardised Precipitation Index (SPI) calculations

- Rainfall ranking

- Rainfall probability bands

- Rainfall percentage of long term average

- Soil Moisture Deficit

- River Flows

In this application we show our analyses of the HADUK rainfall data for the River Derwent catchment, and the Yorkshire Regional rainfall series (supplied by the Environment Agency).  We also show selected analyses for some of the reservoir catchments, as it is deficits in the reservoir catchments that led to the deficiency of supplies.  Figure 3.1 shows river and reservoir catchments in the Yorkshire Region.

Figure 3.1: Yorkshire River and Reservoir catchments

### 2022 Weather summary

2022 started dry, with below average regional rainfall from November 2021 until January 2022.  December 2021 rainfall was only just below average regionally, with some catchments having below average and some a little above average.  February 2022 was extremely wet, with more than double the long term average (LTA) rainfall. However, all months from March to August had below average rainfall, and then September had close to average rainfall.  There have been periods of extremely hot weather, with heatwaves in July and early August, and the first ever red weather warnings for extreme heat in July.  It has been the driest July in England since 1935 (Met Office, 2022), with virtually no rainfall in the south east of the country.  In Yorkshire, there has been far less rainfall than usual, and this, combined with the high temperatures has meant that river flows and reservoir inflows have been far lower than usual.

The heatwave conditions resulted in exceptionally high demand for water.  July rainfall was lower than average in Yorkshire, but much of the rainfall for the month fell in the last 10 days of the month. The combination of hot dry periods with occasional rainfall meant that much of the rainfall was soaked up by the dry ground. September had close to average rainfall, and October had far higher than average rainfall, and this has improved the position, but there is still a considerable rainfall deficit.

### Rainfall as percentage of Long Term Average (LTA)

Figure 3.2 shows rainfall as percentage of the long term average for the Yorkshire region data series for the River Derwent catchment, and for one reservoir group catchment in each of our north, north west, south and south west groups. These plots show the monthly rainfall values as percentage of the 1961-1990 long term average (LTA) from October 2021.  In these graphs, red bars show rainfall below the LTA, and blue bars show monthly rainfall above the LTA.  All show a wet October 2021 followed by a dry November.  December 2021 was close to average- above average in some areas and below in others.  January was very dry, followed by an extremely wet February.  From March until August rainfall was below average, and it was then close to average in September and above average in October.

Table 3.2 shows rainfall for a selection of catchments as percentage of LTA for different periods from March 2022.  March rainfall was very low in the reservoir catchments shown in the south, south west and north west at between 38% and 40% of the LTA.   In the Washburn catchment in the north of the Yorkshire area it was 51%, regionally it was 62%, and it was 68% for the River Derwent.  March-July still showed lower than average rainfall, with the spatial differences reduced, and all catchments having between 51% and 66% of the LTA.  It was still drier in the south and west than in the east and regionally.  For the Yorkshire Region, the March-July LTA was 66%- just slightly higher than the same period in 1995 (61%).  March-September rainfall as % of LTA for these catchments was between 58% and 68% of the LTA.  The September rainfall lessened the severity of the rainfall deficit, but it was still significant. October rainfall was far greater than average, and this has further lessened the severity of the rainfall deficit, with the reservoir catchment averages between 70% and 76% of LTA, the Derwent catchment at 76% of the LTA and the regional average climbing to 80% of the LTA.

|  | March | March-July | March-August | March-September | March-October |
| --- | --- | --- | --- | --- | --- |
| River Derwent | 68% | 66% | 59% | 65% | 76% |
| Yorkshire regional | 62% | 66% | 61% | 68% | 80% |
| Washburn/Lindley Wood (north) | 51% | 65% | 58% | 64% | 76% |
| Little Don Valley group (south) | 40% | 51% | 52% | 58% | 73% |
| Brownhill Digley group (south west) | 38% | 56% | 55% | 60% | 73% |
| Ponden/Lower Laithe (north west) | 38% | 58% | 54% | 59% | 70% |

Table 3.2: Rainfall percentage of LTA from March

Figure 3.2: 2021-22 Rainfall as percentage of long term average (1961-1990 LTA)

### Ranking of rainfall data

Table 3.3 shows the rank of rainfall for the Yorkshire region and the River Derwent catchment in the 131 or 132 year period of record, for periods of up to 12 months ending from November 2021 to October 2022.  (131 years for data to 2021, 132 years for data to 2022).  Each cell is shaded to indicate how the 2022 rainfall is classified according to the Cunnane plotting position (see Appendix 1).

Table 3.3 shows that several durations ending in August were classified as exceptionally low for the Derwent catchment rainfall, as were the 6, 7 and 11 months ending in September.  For the Yorkshire region the 4 months ending in July, the 3, 5 and 6 months ending in August and the 6 and 7 months ending in September are classified as exceptionally dry.  The ranking results for the reservoir catchments shown in Table 3.2 are shown in Appendix 1.  This shows that for some of the smaller reservoir catchments in the south and west of the Yorkshire region, 2022 has been amongst the driest in the period of record, with the 6 months ending in August ranked 1 for the Little Don Valley reservoirs and the Brownhill/Digley group, and 5 months ending in July ranked 1 for Little Don Valley and the Ponden and Lower Laithe catchments.

### Soil Moisture Deficit

Rainfall is just one of the many indicators of drought, although it is the primary one.  We have used the Met Office Rainfall and Evaporation Calculation System (MORECS) to show Soil Moisture Deficit (SMD) throughout the region in Figure 3.3.  Ground conditions were fully saturated in all of the region in February after high rainfall, but low rainfall and high temperatures led to a relatively early increase in SMD, with values showing very dry conditions of over 100mm (shaded dark orange in the maps below) for one area at the start of June and over 110mm in almost all areas by the start of July.  It has been extremely dry earlier in the year compared to other years. The maps below show the SMD from May 2022. The SMD has decreased in recent months, with the average rainfall in September and high rainfall in October, and the grid squares in the west of the region now have a zero SMD.

|  |  | Duration |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | end month | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |
| Yorkshire Region | 11 | 38 | 63 | 59 | 40 | 59 | 40 | 75 | 54 | 52 | 61 | 95 | 101 |
|  | 12 | 61 | 38 | 61 | 56 | 38 | 55 | 36 | 71 | 51 | 51 | 56 | 91 |
|  | 1 | 9 | 22 | 14 | 31 | 28 | 19 | 31 | 19 | 48 | 31 | 34 | 43 |
|  | 2 | 127 | 93 | 82 | 64 | 80 | 76 | 56 | 74 | 52 | 80 | 65 | 63 |
|  | 3 | 41 | 116 | 74 | 71 | 54 | 64 | 65 | 49 | 65 | 46 | 73 | 56 |
|  | 4 | 28 | 21 | 93 | 55 | 58 | 40 | 52 | 52 | 39 | 50 | 34 | 64 |
|  | 5 | 67 | 31 | 21 | 92 | 55 | 49 | 34 | 48 | 49 | 40 | 51 | 38 |
|  | 6 | 35 | 35 | 15 | 14 | 68 | 33 | 42 | 30 | 39 | 42 | 27 | 43 |
|  | 7 | 26 | 15 | 18 | 5 | 9 | 44 | 21 | 24 | 17 | 27 | 25 | 18 |
|  | 8 | 10 | 9 | 5 | 7 | 4 | 3 | 20 | 7 | 12 | 11 | 12 | 11 |
|  | 9 | 84 | 29 | 18 | 11 | 15 | 6 | 6 | 28 | 14 | 16 | 11 | 15 |
|  | 10 | 106 | 107 | 61 | 40 | 34 | 31 | 24 | 15 | 44 | 26 | 30 | 21 |
|  | end month | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |
| River Derwent catchment | 11 | 41 | 72 | 79 | 63 | 83 | 60 | 93 | 69 | 59 | 64 | 97 | 113 |
|  | 12 | 55 | 39 | 65 | 64 | 53 | 70 | 55 | 81 | 58 | 49 | 56 | 94 |
|  | 1 | 6 | 18 | 14 | 31 | 36 | 31 | 48 | 33 | 63 | 46 | 33 | 41 |
|  | 2 | 121 | 67 | 62 | 47 | 64 | 67 | 57 | 71 | 53 | 84 | 64 | 54 |
|  | 3 | 55 | 103 | 55 | 51 | 43 | 58 | 61 | 51 | 69 | 54 | 76 | 59 |
|  | 4 | 23 | 24 | 76 | 33 | 38 | 31 | 41 | 48 | 38 | 53 | 41 | 66 |
|  | 5 | 72 | 33 | 31 | 77 | 39 | 37 | 28 | 39 | 46 | 41 | 54 | 43 |
|  | 6 | 34 | 38 | 17 | 16 | 50 | 22 | 25 | 23 | 30 | 35 | 31 | 44 |
|  | 7 | 22 | 15 | 17 | 7 | 8 | 27 | 9 | 13 | 11 | 19 | 22 | 22 |
|  | 8 | 7 | 6 | 4 | 7 | 4 | 3 | 12 | 4 | 6 | 4 | 10 | 12 |
|  | 9 | 86 | 20 | 13 | 7 | 8 | 4 | 5 | 14 | 9 | 7 | 6 | 12 |
|  | 10 | 97 | 93 | 43 | 25 | 22 | 21 | 14 | 12 | 23 | 10 | 13 | 10 |

Table 3.3: Ranking of Yorkshire regional and River Derwent catchment rainfall

Figure 3.3: Soil Moisture Deficit maps

### Standardised Precipitation Index (SPI)

The Standardised Precipitation Index (SPI) values can be interpreted as the number of standard deviations by which the observed anomaly deviates from the long-term mean. The SPI can be calculated for differing periods using monthly input data.  We have calculated the SPI for all the monthly rainfall for a 1 month, 3 month, 6 month and 8 month duration.  We have followed the methodology described in report Environment Agency Standardised Precipitation Index (SPI) Tool.  We have not used the Environment Agency Tool, as the spreadsheet macros do not work on our computers, but we have used the methodology described and our results are the same as those provided by the Agency.

Table 3.4 shows the SPI values calculated for the March-August, March-September and the March-October periods.  March-August rainfall was classified as extremely dry in all of the catchments.  The close to average rainfall in September reduced the severity of the dryness of the SPIs, with the River Derwent, Washburn reservoir group and Yorkshire region being classified as severely dry, and the other reservoir catchments still extremely dry. The wetter than average October has further reduced the severity of the dryness, with only the Ponden/Lower Laithe catchment classified as severely dry and the others moderately dry.  Plots of the 1, 3, 6, 7 and 8 month SPIs for these catchments are shown in Appendix 1.

|  |  |  | March- August |  | March- September |  |  | March- October |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Derwent |  |  | -2.29 |  | -1.98 |  |  | -1.49 |  |
| Yorkshire region |  |  | -2.28 |  | -1.85 |  |  | -1.20 |  |
| Washburn/Lindley Wood |  |  | -2.32 |  | -1.89 |  |  | -1.31 |  |
| Little Don Valley group |  |  | -2.69 |  | -2.30 |  |  | -1.45 |  |
| Brownhill Digley group |  |  | -2.54 |  | -2.21 |  |  | -1.42 |  |
| Ponden/Lower Laithe |  |  | -2.76 |  | -2.37 |  |  | -1.69 |  |
| Key |  |  |  |  |  |  |  |  |  |
| Extremely dry | Severely dry | Moderately dry |  | Near normal |  | Moderately wet | Severely wet |  | Extremely wet |

Table 3.4: SPI values

### Weather Forecast

The Met Office long range weather forecast (4th December) is for more settled and drier weather by mid December, with weather likely to remain cold for the rest of the month, with the possibility of wintery showers.

The dry period of the spring and summer has ended, but there is still a rainfall deficit, and to ensure adequate reservoir refill we are applying for this permit to allow us to maximise river abstractions.  If we have a repeat of 1995 winter rainfall, rainfall totals from the start of March 2022 would still be among the lowest in our 132 year record.

### Conclusions

The analyses described in this section demonstrate that the deficiency of supplies has been due to an exceptional shortage of rainfall.  There has been a significant recovery due to rainfall since September, but the deficiency of supplies is directly due to the low rainfall during the spring and summer.  The combination of low rainfall and high temperatures have resulted in low reservoir inflows, high evaporation, and extremely high demands.

River flows and reservoir stocks and their use as an indicator for a deficiency of supplies are discussed in the next sections of this document.

## Reservoir Stocks

Our reservoir control lines represent the value of reservoir storage that is required to guarantee a continuous rate of supply (equivalent to yield) such that the reservoir storage never falls below a critical storage line given the minimum historical inflows.

We calculate two sets of control lines:

- Drought Control Line (DCL) - the DCL is designed such that stocks will never fall below marginal storage when the reservoirs supply 85% of their calculated yield.

- Normal Control Line (NCL) - the NCL is designed such that stocks will never fall below the DCL when the reservoirs supply their calculated yield.

Once we have calculated the NCL and DCL, we linearly interpolate between the 100% full level and the NCL, the NCL and DCL, and the DCL and emergency storage level, to obtain the ten control lines (CLs) used in our modelling and reservoir stocks monitoring. The NCL is control line (CL) CL3, the DCL is CL7, and we use CL4 as the Environment Agency trigger line. This is the trigger for Yorkshire Water and the Environment Agency to initiate communications around a potential emerging dry weather situation. The control lines are the grey curves shown in Figure 3.4; these provide Yorkshire Water’s internal control lines, used to help manage the reservoirs.

The control lines are updated on a regular basis and were last updated in 2022 based on minimum inflows from 1900 to 2020.  We have remodelled our historic inflows using GR6J rainfall runoff models and extended our historic record back to 1900.

Control lines have been revised since our most recent drought plan, but the triggers in our drought plan related to control lines are still applicable to the updated control lines.  We will carry out a further review of our control lines after the current drought period has ended, and when inflows are updated to include this current period.

In the operation of our reservoirs, we aim to abstract the reservoir yield when stocks fall below the NCL, but at times of high demands or in response to other system constraints we will often use a source above its yield for periods of time, and then reduce to below yield later in the year to compensate.

The figures below show regional and area reservoir stocks for this year compared to the last few years and selected dry years.

Figure 3.4 shows the regional reservoir stocks from our weekly water situation report.  It shows that stocks in 2022 have been very low. Only 1995 and the start of 2020 have been drier during parts of the year, in recent times.

Figure 3.4 – Regional Reservoir Group stocks (from Water Situation Report)

Figure 3.5 shows the area stocks for the North Group of reservoirs supplying Harrogate and Leeds.  This area can be supported directly by the abstraction from Elvington.

Figure 3.5 – North Reservoir Group stocks (from Water Situation Report)

Figure 3.6 shows the area stocks for the North West Group of reservoirs supplying Skipton, Keighley and Bradford.  This area can be supported by the Grid sources in this application indirectly when the Derwent sources support the North area, allowing water to be transferred from Eccup in the North to Graincliffe in the North West.

Figure 3.6 – North West Area Reservoir stocks

Figure 3.7 shows the stocks for the South West Reservoir group.  Abstractions from the River Derwent can be transferred to this area via Swillington and Womersley pumping stations.

Figure 3.7 – South West Area Reservoir stocks

Figure 3.8 – South Area Reservoir stocks

Reservoir stocks in the South Group are shown in Figure 3.8.  This area can be supplied by the River Derwent abstractions via New Road pumping station.

Figure 3.9 shows the stocks for the East group, which is predominately made up of the Hull Boreholes, which we model as a reservoir.  Hull is supplied by the Hull Borehole Group and River Hull abstractions at Tophill Low, and can be supported by abstractions from the River Derwent.

Figure 3.9 –East Group stocks

We have shown regional stocks and area stocks for all five of our operating areas in our Grid Resource Zone, as they can all be supported by our abstractions from the River Derwent.

The reservoir plots show that reservoir and group stocks are far lower than they have been in recent years, with regional stocks only lower in 1995 and 1996 for most of the summer months.

Since early October, reservoir stocks have recovered well, but we are continuing with this river permit application, as the permit may still be required if we experience further dry weather and high demands due to freeze thaw bursts over the winter period.  The reservoirs in the south had a slower recovery than other areas but are still now recovering well.

## River Flows

Figure 3.10 shows gauged flows on the River Derwent.  Between March and the end of September, the 1995 and 2022 River Derwent flows followed a similar response to the prolonged dry weather. The River Derwent experienced lower flows at times in 2022 than 1995, however the significantly wetter October and November has seen River Derwent flows rise.

Figure 3.10 –River Derwent flows

## The effects of the water shortage through 2022

The current water supply situation is a result of the exceptional shortage of rainfall described in section 3.3. As well as the exceptional shortage of rain, the water stocks situation has been exacerbated by exceptionally high temperatures, which resulted in very high demand for water during summer 2022 (demonstrated in Sections 3.7 and 3.9). Reservoir stocks were extremely depleted during the summer, and to maintain supplies we increased river abstraction as much as possible.  This allowed us to reduce the rate of fall of reservoir stocks whilst maintaining supplies.  There has been some recovery during the autumn, but we are preparing for the possibility of continued dry weather by continuing to take actions in line with our drought plan to protect stocks and supplies through the winter period.

Throughout the spring and summer, we continually modelled and monitored our water resources situation, including estimates of the projected dates that temporary use bans (TUBs) and drought permit triggers could have been crossed. Since early June, our modelling consistently showed that if we had a repeat of 1995/96 inflows, we would expect to cross TUBS triggers in late August or early September 2022, and drought permit triggers (our drought control line) regionally in the winter. Although our modelling showed that in most scenarios these permits would not be required, the fact that the rainfall patterns for 2022 were similar to those in 1995 and the rainfall quantities for the January to July period had been similar, means that we needed to plan for this worst-case scenario. There has been a recovery in stocks during October and November, but we are continuing to take action to recharge and protect reservoir stocks through the winter period.

We have operated according to the high-level strategy outlined in our drought plan, increasing the use of river sources as reservoir stocks fell through control lines. We operated to preserve reservoir stocks by increasing river abstractions, and so have used more of our annual licence for the River Derwent at Loftsome Bridge than usual.

We are applying for this drought permit due to the fact that we wish to maximise and protect reservoir recovery by continuing to use river sources as much as possible and be able to meet high winter demands if they occur.

The potential threat to water supplies is a direct result of the weather conditions during this spring and summer. The threat will only occur if the conditions continue to be dry through the winter, or if we experience a prolonged period of high demand. We have acted in line with our drought plan triggers, preparing for TUBs in the summer when models suggested they would be required, and implementing TUBs, in line with our drought plan and model forecasts, from 26th August 2022.

We have modelled many scenarios for both inflows and demands and selected the permits which we think will give the most benefit and put us in the best position we can be for winter 2022 and for 2023 if the dry weather continues.

Figure 3.11: Actual and forecast Reservoir stocks

Figure 3.11 shows regional reservoir stocks as part of the output of our Water Resources Planning Report (WRPR) which we generally produce monthly during the summer but have been producing weekly this year as drought conditions continued. We use it to forecast expected reservoir stocks based on current and future asset availability. This shows the results for a repeat of 1995/96 inflows, at an annual average demand of 1295Ml/d. As well as the regional picture, we also produce graphs of area stocks, and predict WTW outputs which we use to inform our weekly production planning process. This forecast does not show regional stocks crossing the drought control line, but some of our previous model runs showed regional stocks and stocks in some areas falling below the DCL.  The forecast was made on 7th November in a week when regional stocks increased by 7%.  The graph also shows the forecast made on 19th September; this shows regional stocks only just above the DCL, and stocks fell below the DCL in some of the areas at this time.  We will continue to monitor the situation and forecast based on latest stocks.

## Population affected by the drought permit

This drought permit application will alter how we operate our abstractions on the River Derwent, which are a major part of our conjunctive use grid system.  The population affected by is that of our Grid SWZ (5,316,740 for 2021/22 as estimated population from our final WRMP 2019). The proposed drought permit will enhance our ability to supply potable water to customers and conserve water for maintaining compensation flows for longer, although at a reduced level, if the dry weather continues.

The River Derwent abstractions supply water throughout the region, to Hull in the East, and to Leeds, Sheffield, Wakefield and Calderdale areas in the West, South and South West of the region.

## Summer 2022 demand

Customer water use tends to increase in summer as a result of increased garden watering, jet washing, showering and use of paddling pools and hot tubs. In the summer of 2022, we saw a large uplift in water use.

Figure 3.12: Regional Weekly Demand (from Weekly Water Situation Report)

Figure 3.12 shows the high demands experienced in 2022 compared to the preceding five years and other years selected to represent previous high demand years. This shows that in 2022 we had one of the highest weekly summer peak demands we have ever seen, except for 1995 and 1996, although it should be noted that a higher proportion of these demand were due to leakage. Demand was close to levels seen in 2018, but high demand did not occur for as long. We had a weekly peak demand of 1480 Ml/d in the week of 20th July, and peak day demand of 1573 Ml/d on 19th July. This high demand has been driven by exceptionally high temperatures and dry weather, with the first ever Met Office Extreme Heat red weather warning issued on the 15th July 2022 for the 18th-19th July 2022. Further demand peaks occurred in August with an amber weather warning for extreme heat from 11th-14th August.

Figure 3.13: Regional Monthly 2022 Demand and Temperature

Figure 3.13 shows monthly 2022 regional demand plotted alongside monthly average temperatures (calculated from weekly MORECS data), for the 1993-2021 average and for 2022. The peak demand in July corresponds to the far higher than average temperatures.

Figure 3.14: Relationship between average temperature and demand

Figure 3.14 shows weekly regional demand plotted alongside average weekly temperature, and Figure 3.15 shows weekly 2022 regional demand plotted alongside average weekly sunshine hours.  Both show that demand increases in relation to high temperatures and longer sunshine hours.

Figure 3.15: Relationship between average sunshine and demand

## Leakage control

In the reporting year 2021-22, leakage was 283.08 Ml/d which overachieved the Ofwat in-year target of 286.3 Ml/d. This was a reduction of 7.9% in the AMP7 period, against the target of 7.4% after year 2. In years such as 1995-6 and 2017-18 when demand levels were higher, leakage levels were also significantly higher at 535 Ml/d in 1995-6 (when using modern leakage reporting methodology). The introduction of mandatory leakage targets, and significant investment in monitoring infrastructure to facilitate detection and repair, has resulted in a 47% reduction in reported leakage.

Each year we find and repair leaks on our distribution network to drive down our average daily leakage. These reductions in leakage are achieved through additional find and fix resources and new and innovative leakage detection techniques. Our regional leakage target for 2022-23 is 284.21 Ml/d to hit the three-year rolling average and keep on track for a target reduction of 15% by 2025.

During hot, dry weather customer demand increases significantly, and the pattern of customer demand changes, making it much harder to determine where leakage is occurring and where increasing flows are due to leaks or increased customer demand. This summer we have experienced increased breakout of leaks as during hot, dry weather, ground movement increases causing our pipes to burst. In a normal year ground movement causes about half of our leaks, but the change in soil moisture this year is unprecedented, and the number of burst mains has increased by 33%.

We started this financial year ahead of this year’s target, as shown in Figure 3.13, having overachieved during the mild winter of 2021-22. Our additional leakage activity reduced leakage to planned low levels after the normal winter peak by the middle of June. However, we saw an increase of 25Ml/d at the beginning of July due to the extremely hot and dry weather spell which put pressure on the Water Network due to high demand and low soil moisture. Our current leakage figure (which relies on some in-year projections) is 286.34 Ml/d, which is above our business plan due to the extreme weather but still within parameters to hit the year end regulatory target.

Figure 3.16: Yorkshire Water Reported Daily Leakage

Figure 3.17: DMA leakage trend (no. of DMAs with increasing/decreasing leakage by month)

## Demand on the affected water source

For assessing demand, the Yorkshire region is divided into forecasting zones (FCZ). FCZs group parts of Yorkshire by the water treatment works which are most commonly used to meet their demand. The FCZs are not discrete areas and connections within the grid system allow water to be imported and exported between FCZs.

Table 3.5 shows demand in the Yorkshire Water region divided into forecasting zones.  The River Derwent abstractions can support all of our forecasting zones either directly or indirectly, so all are relevant to this application.

| Yorkshire Water Forecasting Zones | Area | Demand in Zone (23rd November) Ml/d |
| --- | --- | --- |
| Leeds, Harrogate and Dales | North/Central | 234 |
| Sheffield | South | 259 |
| Bradford & Skipton | North West | 171 |
| Calderdale & Wakefield | South West | 220 |
| Hull | East | 149 |
| Malton, York, Doncaster, Selby | Grid and groundwater | 214 |
| Regional | Regional | 1246 |

Table 3.5: Weekly Water Demand

The Grid water network sources of supply are Elvington and Loftsome Bridge water treatment works in the East and Chellow Heights WTW in Bradford.  The Elvington and Loftsome Bridge treatment works treat water from the Rivers Derwent and Ouse, which is then transferred via the Grid network of pipelines across the Yorkshire region.  Grid sources are being maximised to conserve reservoir stocks where possible across the region. Table 3.6 below shows the water treatment works outputs supplying the Yorkshire Grid.

| WTW | Current Output to Grid Ml/d | Main Sources (24th Nov) Outputs Ml/d |
| --- | --- | --- |
| Elvington | 172 | River Derwent at Elvington and River Ouse at Moor Monkton |
| Loftsome Bridge | 60 | River Derwent at Loftsome Bridge |
| Chellow Heights | 130 | Nidd Barden and Grimwith Group and Thornton Group and River Wharfe at Lobwood |

Table 3.6: Grid Water Treatment Works

## Drought permit alternatives considered

We have managed the 2022 drought situation by promotion of water saving to customers, maximising leakage reduction activity, and maximising our river abstractions where possible to conserve reservoir stocks.  We have increased abstractions on the River Wharfe at Lobwood in the north west area, and Arthington in the north area, when river flows have allowed. We have also maximised abstractions on the Rivers Ouse and Derwent. River flows have been low for the time of year for much of the time, so our allowed abstractions have been limited, although recent rainfall has enabled us to maximise river abstractions as river flows have increased above hands off flow thresholds.

All reservoir fed water treatment works were minimised as much as possible when stocks were low and the Grid has operated at higher flow rates for long periods.  As reservoirs recovered above their Normal Control Lines we began to increase reservoir abstractions, but more cautiously than we usually would.

Additional staffing and standby provision have been employed across all areas of Yorkshire to ensure that any interruptions due to mechanical failures are resolved as soon as possible.

We have been granted a drought order to increase allowed abstractions on the River Ouse, and a drought permits to reduce compensation flows for the north west area and south area reservoir groups.  We have also obtained a drought permit to increase the allowed annual abstraction on the River Wharfe at Lobwood.

We have followed the steps in our Drought Plan 2022 and have applied for these permits in order to preserve stocks as much as possible in anticipation of an event worse than one we have experienced before.

After some recovery of reservoir stocks, we are continuing to apply for this drought permit which will allow us to increase our annual abstraction on the River Derwent at Loftsome Bridge.  This is because during the hot dry summer we conserved reservoir stocks by increasing our river abstractions.  If demands over the winter period are not high and if reservoir stocks remain above normal control lines, it is possible we will not need to implement this permit. However, if we experience the high demands which sometimes occur in winter as a result of freeze-thaw events, we may need to abstract more than the annual licence from these rivers.  The need for this permit is a direct result of the necessary actions that we had to take to manage the drought situation throughout the summer and autumn of 2022.

We believe applying for this permit is the best course of action at this point in time.  It will allow us to maximise river abstractions at a time when river flows are higher.  We believe this will have minimal environmental impacts as the permit could result in an additional 13Ml/d of water in the reach between Elvington and Loftsome Bridge intakes, and no net change below Loftsome Bridge.  Having this permit in winter will improve recovery in reservoir stocks and decrease the likelihood of permits resulting in reduced summer flows, which could cause more environmental issues. It will allow us to maximise river abstractions, by using the full licence on the River Derwent, at the same time as transferring water from Moor Monkton when flows are also in the higher flow bands on the River Ouse.

## Consequences if the drought permit is not granted

We have considered not applying for a drought permit to move a portion of the annual licence at Elvington to Loftsome Bridge, and our modelling of past events shows that we could maintain supplies through historic droughts without permits. However, in that scenario our reservoir stocks would be reduced.  The granting of this permit would allow us to continue support and protect the recovery of reservoir stocks across our grid zone.

If this permit is granted, we will be able to manage our system in a more resilient way, allowing increased river abstractions and reduced reservoir abstractions if conditions require it.  If this permit is not granted (or the decision to grant it occurs too late for us to manage supplies as if it were granted), we will have to operate according to the current licence conditions, and this may result in the overdrawing of reservoirs in order to not exceed the annual licence at Loftsome Bridge, even though river flows are high.

# Actions taken to reduce demand and conserve supplies

Promoting water efficiency to our customers is part of our day-to-day operations during all weather conditions. In line with our Drought Plan we implemented additional demand management actions in reaction to crossing drought triggers in 2022. Demand reduction helps us conserve supplies for later in the year if the situation does not return to normal. At the same time, we constantly review our raw water resources to make best use of the water available to us. Wherever possible, we operate to conserve supplies that can be stored for use later in the year by reducing the use of reservoirs and increasing the use of river abstractions.

Customer-use demand reduction actions are implemented in response to crossing drought control lines using a phased approach.  This starts with appeals for voluntary reductions in use, escalating to imposing temporary use bans then applying for a drought order to restrict non-essential use. In 2022 lower than normal reservoir stocks triggered the need for appeals for voluntary reductions, and we imposed Temporary Use Restrictions on the 26th of August.

In February 2022, our regional reservoir stocks were above 95% and we started the spring in a good stocks position, with many reservoirs full. At this time, we were implementing our normal water efficiency measures and preparing for our annual summer campaign. We had below average rainfall from March to August, and reservoir stocks decreased steadily, with only 1 week at the start of April showing an increase, until the start of October.

Elevated temperatures in June led to peaks in demand of 1413 Ml/d and 1434 Ml/d on the 17th and 22nd July, respectively. Further elevated temperatures in July led to demands of 1505 Ml/d and 1573 Ml/d on the 11th and 19th of July. These July peaks occurred at a time of a heatwave and the first ever Met Office Extreme Heat red weather warning. There were further high demands in August, but these were far lower than the extreme peaks earlier in the summer.

As a result of the peak demand and lower than average rainfall, reservoir stocks reduced to lower than average levels, and we crossed our normal control line and early warning Environment Agency control line. In line with our Drought Plan we implemented demand management actions to reduce demand and conserve available water resources in reaction to crossing these triggers.

The following sections list the actions we carried out as a result of crossing control lines. A timeline of the customer communications appealing for reductions in water use during 2022 is provided in Appendix 1. This provides a breakdown of the measures we used to raise awareness of the heightened need to use water wisely in our region and the number of customers exposed to the messages (reach).

## Demand management during normal operating conditions

During normal operating conditions, the Yorkshire Water website provides water saving information and a link for customers to order free water saving packs. It includes a page dedicated to water resource management, where our current Drought Plan and Water Resource Management Plan (WRMP) are available to download.

We have education centres at several sites (Headingley WTW, Ewden WTW, Tophill Low Nature Reserve) and a Living with Water Learning Lab hosted by Wilberforce College (Hull), which schools and other groups can arrange to visit.  We cover a range of topics including the water cycle and water conservation during the sessions, alongside other themes such as flooding, wastewater education and water safety.   We also offer an outreach programme and virtual live assemblies. Our website offers our green classroom pack for teachers to download. These lesson packs provide educational material on the water cycle and the importance of water conservation.

Each summer the Yorkshire Water Brand and Communications Team delivers a water efficiency campaign, which educates customers on ways to save water in their homes and gardens and encourages customers to find out more information about water conservation via the Yorkshire Water website. This typically involves a media plan of activity such as ‘paid for’ social media advertising, digital display ads, a detailed content plan for organic social activity and customer emails, along with a mixture of other paid for advertising such as: radio (traditional and digital), press, digital out of home adverts and TV advertising.

The Communications team also ensure there is a presence at large events in the region, this year sponsoring The Great Yorkshire Show and having a stand dedicated to Water conservation messages to engage and educate customers of all ages about water conservation. We also teamed up with local radio stations to deliver ‘on the street’ events in four busy town centres during the summer holidays (Leeds, Hull, Sheffield, and York) this gave us the opportunity to talk to customers face to face about ways to save water and answer any questions or concerns they have about water conservation, droughts, hosepipe bans etc.

There is also a media plan of pro-active press office activity, including: joint press releases with other partners, paid for editorials in local newspapers and a PR campaign that works with social media influencers to recommend water saving tips and advice. Included in the Communications plan is a content plan for colleagues within the business as well as promotional material for the retail team to share with non-household customers to encourage them to become more water efficient.

This year’s campaign was developed from the insight and learning we gained after 2018, after carrying out research on customer’s views on water efficiency and TUBs. The research carried out told us that customers were more likely to get on board with messaging and change their behaviours when the advice feels achievable, and they can understand why there is a need for change. The research also showed for some segments of customers, a financial benefit is more likely to make them change too. We also had to take into consideration the current external climate and other financial or personal challenges that many of our customers might be facing. Having this in mind helped us develop the ‘Use Less. Save more’ campaign, in which we crafted messaging and creative materials that speak to customers in the right tone of voice, feels relatable and includes enough of the ‘why’ (explaining why we need to save water) as well as practical, achievable tips that most people can apply in their everyday lives. Some of the more dynamic channels in our media plan, such as social and digital advertising allow the flexibility to be able to switch the messaging on ads depending on the weather, for instance: we have referred to ‘There’s not been much rain lately’ or ‘No need to water the lawn, there’s been a bit of rain.’ This was to help customers understand the link between rainfall, the impact on our reservoir levels and how they can help.

Our communications to customers during the hot, dry weather this year has been at a regional level aimed at targeting all Yorkshire Water customers.  In line with our Drought Plan we implement water saving messages at a zonal level.

## Metering

The number of domestic customers in the Yorkshire Water supply area receiving water via a metered supply is currently 58%. Most commercial properties are metered, with the exception of some small water users where metering is not practical. All new build properties receive a metered supply and unmetered households can opt to have a meter installed free of charge. The Yorkshire Water region is not classified by the Environment Agency as a severely water stressed area, therefore we are not able to compulsorily install meters in domestic customers’ properties.

We promote metering to our customers as a means of saving water and money. We are transparent on all unmeasured bills, showing the comparative metered costs to all customers. This allows customers to make informed decisions as to whether a meter is right for them.  Demand for meters was impacted through COVID and is yet to return to expected volumes, although we have seen an increase. We believe this slow return to be due to the current financial crisis meaning customers prefer guaranteed bills.

We have an extensive partnership network to help increase our reach to customers experiencing affordability challenges. We plan to continue to utilise this network in understanding where a meter could reduce charges for customers and continue with other forms of support to vulnerable customers.

## Leakage reduction activity

Enhanced leakage reduction is included as a drought option in our Drought Plan for implementation when reservoir stocks are predicted to be 10 weeks from crossing the drought control line. We retained an increased number of leakage inspectors since the escalation of 2018 in order to meet our 2025 leakage target. This year we have employed additional resources to fix leaks and bursts in our region. This additional activity includes a new ‘Smart Leakage Team’ to support leakage reduction through the integration of ‘smart technology’ in our networks. Enhanced leakage activities include:

- Overtime including 7-day working for leakage inspectors, support staff & field technicians introduced in the summer months and continues, this will be in place until the end of the financial year.

- Additional personnel fixing leaks - We had 60 contractor teams (120 people) on primary leakage work during September 2022. This is a 25% increase on the 45 teams (90 people) we had in July 2021, despite the workbasket being 25% lower this year.

- We have found and fixed 24815 leaks in the first 7 months of this financial year.

- 2405 Pressure Reducing Valves (PRVs) maintained and or optimised in the last 6 Months to reduce bursts and leakage.

- We have repaired or renewed 3320 customers’ leaking supply pipes to help our customers tackle their leakage.

- We have dedicated teams to find leaks on trunk mains - using satellites in rural areas where leaks are more difficult to identify.

- We have optimised our fleet of 38,000 acoustic loggers to more quickly and efficiently find and fix breakout leakage.

- We are utilising a live hydraulic model across several of our most challenging leakage areas to understand underlying causes of network performance. The hydraulic model solution aims to reduce leakage in these areas to their lowest ever level.

Leakage activity

As part of our ongoing work to reduce leakage in our region and achieve a 15% reduction by 2025 we are delivering a number of new approaches.

- We have trialled a new lift and shift acoustic system which sends sound files through an App so that leakage technicians with no experience can gather the data and experts follow up to identify the leaks.

- We are carrying out intensive investigation of supply pipe leaks and plumbing losses regionally covering 100,000 properties using temperature sensing techniques.

- We are trialling a new approach in 60 DMAs regionally using hydraulic models and enhanced meter data to identify leakage using a non-acoustic approach.

- We are testing a new method to prioritise our leakage detection activity so that we can intervene earlier on leaks that are growing most rapidly.

- We will be carrying out a Smart Network trial with additional logger deployment and enhance analytics using machine learning.

- We are deploying a lift and shift acoustic logger methodology to locate leaks in higher leakage areas where network coverage is limited.

- We invested in a number of new permanent and temporary meters to narrow down leaks into smaller discrete areas for ease of locating leaks.

- We have installed a network of high density pressure loggers to identify and locate leakage.

- We developed hydraulic models for the most difficult areas to support leakage reduction.

- We have used satellite imaging to find leaks in rural areas where leaks are more difficult to identify.

- We tested the raw water mains for leakage.

## Trigger: Reservoirs crossed our normal control line

We meet customer demand through use of our licensed water resources, which include reservoir, river, and groundwater supplies. In most years, we have sufficient rainfall to balance our resources to ensure regional reservoir stocks remain above the normal control line. If the normal control line is crossed it is a trigger for us to review our operations and identify where the use of river supplies can be increased in preference to reservoir supplies. This helps to conserve reservoir stocks during periods of low rainfall.

In 2022 regional reservoir stocks crossed the normal control line on 28th March 2022. In reaction to this we reduced our use of reservoir supplies in our Grid SWZ and increased our use of river and groundwater abstractions to meet demand. This included increased abstraction from the River Derwent at Loftsome Bridge to reduce abstraction from reservoirs across our region. Although regional stocks crossed the NCL on 28th March, the NCL for individual reservoirs and groups was crossed at different times. Our operating strategy is to try to balance the rate of fall of reservoirs as much as possible to ensure a balanced risk across the region. We operated the Worth Valley reservoirs in our north west area at or below yield since they dropped below the group NCL in the week commencing 18th April.  Our south reservoir group dropped below their NCL at the end of March, and we increased our imports to the south from our Elvington and Loftsome Bridge treatment works in early April, allowing us to reduce reservoir abstractions when demand allows.

All year, free water saving packs are available for customers to order through the Yorkshire Water website.  Our Communications Team started to talk to our customers about water saving in April, followed by advertising using social medial channels and our website in May.

## Trigger: Reservoirs crossed Environment Agency early warning trigger line

Regional reservoir stocks reached the Environment Agency early warning trigger on 23rd May 2022 and we started implementation of our drought communications plan. At this stage, our region was not considered to be in drought and this trigger ensures we start implementing actions early to lessen the impacts if the situation worsens.

In reaction to the dry weather and elevated temperatures our ‘Use Less. Save More.’ customer education campaign was heightened to raise awareness of the lack of rainfall, increasing demand and the heightened importance for reducing water use. The messages for the campaign escalated after commencement in April 2022, in line with our triggers, demonstrating to customers the reasons why they needed to use water carefully, whilst also highlighting how.

By changing the artwork and messages in media promotions we were aiming to keep customers’ engaged, helping them understand the escalating reasons why we need their support and reiterate the water saving message.

The actions included:

- Raising awareness of the developing situation, such as increased demand due to high temperatures and declining water stocks due to low rainfall.

- Promoting the importance of reducing demand for water in our region and requesting customers to make voluntary reductions in water use.

- Promoting our free retrofit devices and tips on how to save water.

- Requesting customers to report any leaks or bursts in our region.

- As part of our advertising for our priority services we asked any customer who needed extra care, support or are vulnerable during the hot weather to contact us.

- Our Wholesale Service Desk opened discussions with retailers and in collaboration with Water UK and other water companies provided advice to commercial users on saving water. This was made available through our website and proactively highlighted to Retailers by email and the ‘Retailer Portal.’

- Liaised with retailers and commercial water users on any changes to water services such as re-routing supplies, which can impact on the products or processes of commercial users.

- Free flushsaver devices offered to commercial water users on our website.

Information was communicated to customers through a variety of media channels. A programme of media promotions during summer 2022 and the number of customers reached is provided in Appendix 2. Social media and digital advertising offer the ability to reach a large number of customers, although only a proportion will click on the links for further detail. Radio and newspaper advertising were used to reiterate the messages and reach those customers not exposed to digital advertising; and TV advertising gets the messages to broad audiences on a highly recalled channel.

In total our paid for advertising to the end of September has created over 106 million opportunities to hear and see messaging, meaning that an average person in Yorkshire will have heard the message over 20 times.

The media channels are outlined below:

- The Yorkshire Water homepage banner focused on water saving, directs people to further water saving/hosepipe ban content. Detailed FAQ’s provide strong advice and guidance.

- Any supplementary bills sent out contain a water saving advice leaflet

- The Yorkshire Water intranet contains regular news updates and FAQ areas to keep colleagues updated on all things water saving/drought management related.

- An integrated marketing campaign has been live since the beginning of April, escalating in July with additional spend to maximise amplification of messages across multiple channels. The campaign has been live across social media advertising, radio advertising (terrestrial and digital), programmatic advertising (on relevant websites across Yorkshire), bill boards, bus advertising, ITV terrestrial TV advertising, ITV Hub, SKY Go and All4 advertising, Newspaper Yorkshire Water | River Ouse Supporting Information | 34 advertising, YouTube, customer emails; and through customer events in major cities and the Great Yorkshire Show. Since July these have created over 30 million opportunities to hear and see our messages each month. From April – September we’ve created over 106 million opportunities to hear and see the messages, with more activity planned to continue into the Autumn/Winter

- Organically through our owned channels, we’ve had a comprehensive content plan across Facebook, Twitter, Instagram, TikTok and LinkedIn using content to create engagement

- Media coverage on everything water saving and drought management has been highly topical and since July 12th we’ve had 5580 pieces of coverage, with a reach of 2.5 billion; 336 of these were broadcast pieces, Yorkshire Water representatives have been interviewed for 15+ of these; and finally, we’ve dealt with over 336 incoming media enquiries.

In addition to heightened water saving messages, we continued to optimise operations across our Grid SWZ to preserve regional reservoir stocks:

- We maximised river abstractions where possible, but due to low river flows and asset availability this was limited at times.

- We maximised groundwater abstractions within licence constraints.

- We experienced extremely high demands most notably in late June and into July, and at times we had to maximise use of reservoirs as well as river abstractions where available. River sources and our grid system were used strategically to support each area of our Grid SWZ as much as possible and balance the drawdown of reservoirs across the region to ensure no area was unnecessarily exposed to a greater reduction in available resources.

- Normally we try to release approximately 10% above our required compensation flow releases, to ensure that we are meeting our statutory obligations for compensation. This summer, to help preserve reservoir stocks, we reduced this tolerance on compensation releases from 10% to 5% where an assessment identified this was feasible. This is in line with our operating strategy when the Environment Agency trigger line is crossed.

Where possible we too taken action to reduce the output of water treatment works supplied by our reservoir groups and meet demand through increased use of our grid system in order to reduce the rate of draw down from the reservoirs. The actions to reduce the use of sources in the South and North West areas are explained below:

- Langsett WTW is supplied from the Little Don Valley reservoir group.  The operational range for the site is 25 to 60 Ml/d.  Flows were reduced in line with our normal operational rules following the period of peak demand and the average daily treated water flow rate for August and September was 34 Ml/d.

- Ewden WTW is supplied from the Ewden Valley reservoir group.  The operational range for the site is 20 to 45 Ml/d.  Flows were reduced in line with our normal operational rules following the period of peak demand and the average daily treated water flow rate for August and September was 21 Ml/d.

- Loxley WTW is supplied from the Loxley Valley reservoir group.  The operational range for the site is 20 to 40 Ml/d.  Flows were reduced in line with our normal operational rules following the period of peak demand and the average daily treated water flow rate for August and September was 29 Ml/d.

- Rivelin WTW is predominantly supplied from the Derwent Valley import from Severn Trent Water, together with a small catchment area of its own which includes the Redmires Reservoirs. The WTW maximum design capacity is 75 Ml/d. Our import from Severn Trent Water can be up to 68 Ml/d, dependent on levels in the Derwent Valley (legal agreement between Yorkshire Water and Severn Trent Water defines import flows by Derwent Valley storage bands). The minimum design throughput of Rivelin WTW was 40 Ml/d, however operational trials in 2018 found that it was possible to operate at a raw water flow rate of 35 Mld without adversely impacting treated water quality parameters.  In order to maintain treated water supplies and comply with compensation requirements, 10 Mld of water was supplied for compensation through lagoons on the Rivelin WTW site and 25 Ml/d used for treated water supplies.  Since 2018 we have made further adjustments and can now operate Rivelin WTW at 25Ml/d.  During August and September the daily average water produced for treated water supply was 28.1 Mld, and this has increased to 35Ml/d since mid October.

- We rezoned parts of the Keighley are, allowing parts of the area usually supplied by Sladen Valley and Oldfield WTWs to be supported by Chellow, Graincliffe and Embsay WTWs.

## Trigger: Reservoir stocks predicted to be 10 weeks from crossing the drought control line

The next trigger for implementing drought actions is when regional stocks are predicted to be 10 weeks from the drought control line. During dry periods we model reservoir stocks against forecasts of a repeat of previous droughts in our region. On the 6th June 2022, our modelling predicted a risk of reservoir stocks reaching the 10 weeks from crossing our drought control line (4 weeks before implementing TUBs) on 1st August if we had a repeat of the 1995/96 rainfall. The modelling was repeated weekly to represent the actual demand and rainfall experienced each week. By re-modelling declining stocks each week, we were able to monitor the situation and the likelihood of meeting the 10-week trigger line. The modelled data of crossing the 10-week trigger stayed relatively constant throughout the summer, and we crossed this tigger (4 weeks before TUBs implemented) on 25th July.

We took the decision to start implementing some of the actions triggered by stocks being 10 weeks from crossing the drought control line early, rather than wait until we reached this trigger. These actions were to ensure we were prepared for restrictions on use and drought permits if required later in the year, and included:

- Preparation of notices, adverts, and website content for temporary use bans in case needed.

- Preparation of supply side drought permit application templates with details on the 2022 dry period.

- Environmental assessments, including walkover surveys of potentially affected river reaches, and updating of our Environmental Assessment Reports to reflect the drought situation (see Section 6).

## Trigger: Reservoir stocks predicted to be 8 weeks from crossing the drought control line

This trigger was predicted to be crossed on the 15th August in our 1st August model runs. We ramped up our drought permit application work and our TUBs preparation, and, in line with our Drought Plan process, on 12th August we advertised that TUBs would be implemented on 26th August. TUBs were duly implemented on 26th August.

## Trigger: Reservoir stocks predicted to be 6 weeks from crossing the drought control line

Following the implementation of TUBs on 26th August 2022 we saw an estimated 2% reduction in Distribution Input (DI) resulting in a demand reduction of approximately 28Ml/d on our network.

In the following analysis, we have compared our current DI and PCC data from June 2022 to October 2022 with the equivalent data in 2018. We have chosen 2018 as the comparative year as we experienced similar conditions to 2022, due to the hot dry summer where we issued drought permits but didn’t need to enact a TUB.

Figure 4.1 shows our DI since 1st June 2022 and the reflective data in 2018. Summer demand in 2018 was on average 1351Ml/d which reduced to 1286Ml/d in the 2 weeks following the August bank holiday resulting in a total demand reduction of 65Ml/d. Historic data shows that over the same period leakage reduced by 5Ml/d therefore, overall demand reduction after the bank holiday was 60Ml/d in 2018.

In 2022, summer demand was on average 1343Ml/d which reduced to 1248Ml/d resulting in a demand reduction of 95Ml/d. Over the same period in 2022 leakage reduced by 7Ml/d therefore, overall demand reduction after the bank holiday and implementation of TUBs was 88Ml/d.

Compared to 2018 demand in 2022 was 28Ml/d lower than expected. We consider that TUBs will be a major factor in this reduction particularly through September, although the slightly wetter weather, compared to the same period in 2018, will also have an impact. We have estimated a 25Ml/d impact of TUBs, allowing a small drop due to weather; this is around 2% of average September/October demands.

Figure 4.1: Distribution Input (DI) since 1st June 2022 to present with 2018’s DI included as a comparable year

We have also seen an associated reduction in consumption based on data from our various consumption samples and monitors. For the purpose of this application, we have used PCC from our Domestic Customer Monitor (DCM) sample as this data is available daily, so we are able to see the impact that a TUB has had on this sample. Our measured household data is only obtained monthly via volumetric reads which means we don’t have the granularity required to see the impact of a TUB on these households.

Figure 4.2 shows our PCC taken from a sample of circa 1000 households on our DCM sample across Yorkshire. We can see from the data that consumption in summer 2018 was on average 141 l/h/d which reduced to 126 l/h/d in the 2 weeks following the bank holiday - a reduction in consumption of 15 l/h/d. In 2022, that consumption in summer was on average 133 l/h/d which reduced to 112 l/h/d resulting in a consumption reduction of 21 l/h/d.

Compared to 2018 consumption in 2022 is 9 l/h/d lower than expected which equates to an estimated 45Ml/d. TUBs are likely to be a contributing factor in this reduction. However, when analysing both DI and PCC reductions since TUBs were implemented, we also need to take into consideration other factors that can impact demand including weather conditions, customer holidays, water conservation activity and non-household consumption. These factors can all influence changes to demand and any decreases that we may see in the data.

Figure 4.2: Per Capita Consumption (PCC) from our DCM sample since 1st June 2022 to present with 2018’s PCC included as a comparable year

## The use of sources in 2022

Due to the high demands in the summer of 2022, we have produced more treated water than in most years.  This section describes source outputs this year in comparison to recent years and explains our operation of our sources this year.

Figure 4.3 shows total abstractions for the Yorkshire Water supply area and also shows the proportion of those abstractions supplied by the different source types for the licencing years April to March.  The figures for 2022/23 are for the period until October 2022, so do not include any additional winter demand or the usual increase in the use of reservoir sources when reservoir levels tend to be high in the winter but do include the higher summer demands.  Our use of rivers has been higher than normal this year, as we have maximised the use of rivers when reservoir stocks fell below their control lines.  We expect this to continue until reservoirs are fully recovered as we continue to maximise river abstractions when river flows are high. The granting of these drought permit applications will allow us to fully maximise our abstractions on the River Derwent.

The figure shows that for most years the proportion of use of reservoirs is greater than that of rivers, apart from 2011/12 and 2018/19.  In 2011/12 there was high water production and river use in the winters due to cold conditions and associated freeze thaw events causing increased bursts.  The 2022 data shows a higher proportion of river abstractions compared to the previous wetter years, and this is likely to continue to increase as river flows increase in the autumn and winter and we maximise these sources to allow reservoirs to recover and protect that recovery. The increased abstractions in 2020 and 2021 reflect the uplift due to the high Covid-19 demands.

Figure 4.3: Total abstraction and proportion of each source type

Figure 4.4 shows regional supply reservoir stocks for 1995, 2021 and 2022.  In 2021 stocks crossed the Normal Control Line in April, but significant rainfall meant that the EA Trigger was not crossed, whereas this year, the NCL was crossed two weeks earlier, but no significant refill was experienced until October.

Figure 4.4: Regional Reservoir Stocks

When reservoir stocks fall below the Normal Control Lines, we increase the use of river sources. The use of two key rivers that supply our ‘grid’ system are shown in Figures 4.5 to 4.6 below. Figure 4.5 and Figure 4.6 show daily and cumulative abstraction from the River Derwent at Loftsome Bridge and Elvington.

Figure 4.5: Abstractions form the River Derwent 2021 and 2022

The graph in Figure 4.5 shows the use of the abstractions on the river Derwent at Elvington and Loftsome Bridge in 2021 and 2022.  They show a similar pattern of use until summer, when this year we increased our use of river sources in response to high demands and decreasing reservoir stocks.

Figure 4.6 shows the cumulative abstractions in relation to the average licence allowed and shows that this year we have used the River Derwent abstractions more than last year since early July.

Figure 4.6: Cumulative Abstractions form the River Derwent 2021 and 2022

Figure 4.7: Loftsome Bridge Abstractions form the River Derwent 2021 and 2022

Figure 4.7 shows abstractions for just Loftsome Bridge on the River Derwent, and Figure 4.7 shows abstractions for just Elvington on the same river.

Figure 4.8: Elvington Abstractions form the River Derwent 2021 and 2022

Figure 4.9: Abstractions form the River Ouse at Moor Monkton in 2022

Figure 4.9 shows the licensed and abstracted amounts for the River Ouse at Moor Monkton.  We have not shown the cumulative abstraction for Moor Monkton as the allowed abstraction is dependent on the river flow, so comparisons between years is not appropriate. The figure shows that we have maximised the abstraction within operating constraints and requirements.  In the highest flow band (at river flows above 1000Ml/d) we are licensed to abstract 300Ml/d, although the infrastructure required to abstract that volume is currently not in place.  The red line shows the period when our abstraction was limited by asset availability.  Before this reservoir stocks were below the normal control line, so in line with our operating policy we had not maximised the abstraction.  During the period of pump unavailability we were limited to about 84Ml/d, with a few periods of higher abstractions when repairs and tests on these repairs were attempted.  The pumps returned to service in late June and were used at higher rates in early July when river flows increased, allowing higher flows to be abstracted.  They have been used at about 130Ml/d whenever the river has been available.  It should be noted that this graph shows the 24 hour average flow and abstraction at midnight, and that compliance is monitored on a 15 minute basis using the rolling 24 hour average flow, so on days where a flow threshold is crossed, the allowed abstraction may be different to that shown using the 24 hours at midnight.

The two pumping stations at Moor Monkton contain multiple pumps that allow us to pump water to treatment sites at Eccup No 2 WTW, Headingley WTW, Huby WTW and Elvington WTW. Pump availability at Moor Monkton was reduced in spring and early summer due to a pump failure, which initially constrained the volume of water abstracted from the river. The repair was completed in June 2022, and the pumps returned to full operation in early July when river levels recovered sufficiently to allow their use.

We report use of licences (abstractions vs allowed) on a monthly basis.  Most of our licences show low use compared to licence because our licensed quantity is far in excess of demands, allowing us to operate flexibly and in response to current conditions.  This year reservoir use is lower due to low reservoir stocks, and although rivers are being used more than reservoirs, we are not approaching annual licensed maxima for some licences as we are also constrained by daily hands-off flow thresholds.  For river licences where we are in danger of exceeding our annual licensed quantity, we are applying to increase the annual limit (this application for Derwent at Loftsome Bridge as well as Wharfe at Lobwood).

Most of the time we only use up to 125Ml/d to Wetherby, 6Ml/d to Huby, and a sweetening flow of 5-15Ml/d to Elvington if it is required to support the River Derwent abstractions or preserve the River Derwent Licence.  We are investigating ways of optimising and increasing the use of the River Ouse as part of an ongoing WINEP investigation.

# Environmental impacts of drought permit

During the preparation of our Drought Plan 2022, a ’shelf copy’ Environmental Assessment Report (EAR) was produced for each supply side drought option or group of options.   The EAR provides an independent and robust assessment of the potential environmental effects of the implementation of our drought options.

The environmental assessment was conducted in accordance with Government regulations and using the Environment Agency’s 2020 Drought Plan Guideline (DPG) and the Environment Agency’s July 2020 ‘Environmental Assessment for Water Company Drought Plans- supplementary guidance’, and comprised the following components:

- An assessment of the likely changes in hydrology (flow/level regime) due to implementing the proposed drought options;

- Identification of the key environmental features that are sensitive to these changes and an assessment of the likely impacts on these features;

- Identification of mitigation that may be required to prevent or reduce impacts on sensitive features; and

- Recommendations for baseline, in-drought and post-drought order monitoring requirements.

The environmental assessment focuses on the potential changes to water availability (levels and flows) and any consequent implications for geomorphology, water quality, ecology and other relevant environmental receptors, for example, landscape, navigation, recreation and heritage.  Cumulative impacts with other drought options are also considered.  Throughout the environmental assessment process, Yorkshire Water have proactively engaged key stakeholders, including the Environment Agency and Natural England

During the prolonged dry weather dialogue was initiated with the Environment Agency and consultants were instructed to prepare ‘application-ready’ EARs,.  The application ready EAR is provided alongside this drought permit application.

The environmental assessment concluded that there would be negligible environmental impacts resulting from the implementation of this drought option. On this basis, no monitoring or mitigation is proposed.

# Water Supply Strategy for continuation of drought

Our grid system allows us to move water around the region and we aim to balance resources so that all our customers receive the same levels of service. This makes us resilient to drought conditions and in many recent dry years (2003, 2006 and 2011) we have not been required to apply for drought permits or orders. However, following an exceptionally dry year and unprecedented summer demand in 2018 we applied for winter drought permits to aid reservoir stock recovery, but did not need to implement them when reservoir stocks recovered after heavy rainfall.

Our Grid SWZ has an interconnected network (grid system) that enables highly effective conjunctive use of the available water resources using raw and treated water pipelines. During dry weather we aim to maximise use of river sources to conserve reservoir stocks for longer. However, during 2022 we have experienced exceptionally low rainfall as well as periods of very high demand; this has led to greater draw down of reservoirs, and the below average rainfall meant that reservoirs did not recover until late autumn 2022.

Reservoir stocks crossed our ‘Normal Control Line’ in mid-March 2022. This triggered additional activity to manage water resources and to abstract, treat and distribute more water from rivers to reduce our draw on reservoir stocks. This activity continued during the summer and into autumn and winter as the water resources position recovered and to protect that recovery. We have used our grid system to move water up to 70 miles from river sources to areas in the south and west of the region which are usually supplied by local reservoirs. Throughout this period, we have been managing reservoir levels to ensure that, as far as possible, stocks are drawn down evenly across all areas.

We will continue to closely monitor the water resources position and alter our operational activities to preserve stocks across the region. We have taken mitigating actions in line with our drought plan, with actions undertaken to date listed in section 4.  We will continue to operate in accordance with our drought plan.

Table 6.1. lists all the permit applications we have discussed with the Environment Agency and plan to submit in 2022. There are a reduced number of permit applications listed here than in the previous applications that we have made this year, as recovery of reservoir stocks through October and November 2022 means that we are no longer planning to apply for permits in some areas.

| Permit application |  | Drought Action |
| --- | --- | --- |
| North West Area (permits granted late October 2022) | Reduce compensation releases |  |
| River Ouse at Moor Monkton (order granted 25th October) | Increase abstraction in lower flow bands |  |
| River Wharfe at Lobwood (application made and subsequently withdrawn due to increase in river flows) | Reduce regulating release from Grimwith in the lowest flow band |  |
| South Area (permits granted late November 2022) | Reduce compensation releases |  |
| River Wharfe (permit granted late November 2022) | Increase annual licence |  |
| River Derwent at Loftsome Bridge (this application) | Transfer abstraction licence permissions from Elvington abstraction point on the River Derwent to Loftsome Bridge abstraction point downstream. |  |

Table 6.1: Drought permit applications

Temporary use bans (TUBS) started on 26th August, and we have continued to deliver a summer and autumn water saving campaign as we routinely do each year regardless of reservoir levels.

If the Environment Agency grant the drought orders and permits we are applying for in 2022, they will be valid for up to six months, although this particular application, on the River Derwent, will only be valid until the end of the abstraction licencing year on 31st March 2023. We may not implement the drought permits if we receive sufficient rainfall.

If we do not receive sufficient rainfall for our region to be no longer in drought by 1st April 2023, further drought actions may need to be implemented. We would consider the situation to have returned to “normal” if regional reservoir stocks are above the normal control line and none of our area reservoir groups are below control line 4 (the Environment Agency Early Warning Trigger line). We will continue to make use of river resources as the situation recovers and to protect recovery especially during periods of high demand, and our communications to customers will continue to target water conservation.

To mitigate the impact of the drought, we will continue to promote the need for water saving to our customers throughout the Yorkshire region.  This will be delivered through press releases, public engagement and collaborations with third parties. By collaborating with others, we will be able to provide a stronger message that reaches a wider audience.

We will seek to work with other water companies, the Environment Agency, Natural England, Consumer Council for Water (CCW), local authorities, health authorities, emergency services, other organisations such as NFU, CBI and trades unions. We recently began publishing our water situation report monthly as part of our ‘open data’ initiative.

We will also deliver a “winter campaign” to our customers. Customer water use is generally lower during winter months compared to summer. However, we can still experience peaks in demand due to leaking pipes, which freeze in the cold weather then burst when temperatures increase again. Our winter campaign will look to provide advice to customers on how to protect their home when temperatures drop, which will reduce the risk of pipes leaking or bursting.

The winter campaign will focus on raising awareness of the key messages across Yorkshire through media relations, stakeholder relations and bought on and offline media, including digital advertising, radio and potentially print and we will have the ability to upscale activity should the weather take a turn for the worse. As part of the campaign, we will offer a limited number of free items to customers, such as outdoor tap covers, which will be available to order via our website.

Alongside our campaign, we will be promoting our Priority Services Register to ensure we know about customers who need an extra bit of help. Media activity and campaign messaging will be targeted on the relevant channels to have maximum impact.

We will continually monitor the situation, making decisions about applying for winter drought permits or whether we need further spring/summer permits in line with our Drought Plan.

Should a further shortage of rainfall occur, it is possible that permit applications beyond those listed in Table 6.1 will be required. The decision to apply for additional permits will depend on reservoir stocks and forecasts, which we will be monitoring closely.

## Operational changes we will make to avoid future drought-related problems

Our Drought Plan includes long term options that we will consider if the drought continues in 2019. These options will provide additional resources for public supply and will only be implemented if there is a risk our current available resources will not be able to meet demand if the drought continues.

The decision to implement long term options will be dependent on the severity of the situation and scenario modelling to assess the potential risk. The trigger in our drought plan is to review the need for long term options if we are six weeks away from our regional drought control line in the second year of a drought. We are currently reviewing the scope of the long-term options and the timescales for delivery. If we were approaching the trigger for implementing long term options, this information will help determine which long-term options we should implement if required.

In line with our drought planning process, once the situation recovers, we will carry out a full review of our drought triggers and actions and their impacts.  We will produce a “lessons learnt report” within six months of the situation returning to normal. This will include a review of operations and any opportunities to operate differently to improve our resilience to future droughts. For example, we will review drought triggers and reservoir control lines incorporating 2022 data. If this review leads to material changes to our current Drought Plan, it will be revised and resubmitted to Defra.

# Notices and advertisements relating to application

Written notice of the drought permit application for the River Derwent abstractions at Loftsome Bridge and Elvington has been sent to organisations and individuals with potential to be impacted, which include:

- The local authorities covering the areas downstream or our River Derwent abstraction points:

  - East Riding Council

  - Selby District Council

  - North Yorkshire County Council

  - York City Council.

- Other abstractors operating on the River Derwent downstream of the Elvington intake.

- Internal Drainage Board.

- Derwent Partnership.

- Natural England.

The notices provide information on where the full application can be inspected free of charge and states objections can be made by 5pm on 15th December 2022. A copy of the notice is provided in Appendix 3.

The notice will be advertised on 8th December 2022 in the Selby Times, which is circulated in the area potentially affected if the permit is granted, and in the London Gazette, in accordance with Environment Agency guidance. If the application is successful we will provide notice that the permit has been granted in the same newspapers.

A Yorkshire Water webpage has been created to provide information on drought permit applications. Copies of the River Derwent notice and notices for other applications are available on our website and further permit application notices will be added on the dates we apply. The webpage includes information to explain why we are making the applications and a list of frequently asked questions.

## Public inspection arrangements

Documents relating to the River Derwent at Loftsome Bridge and Elvington drought permit application have been made available, free of charge, for inspection by any interested parties from the date it is advertised.

The documents include a copy of the drought permit application and supporting information including an environmental report and were made available at the following locations and on the Yorkshire Water website:

- Yorkshire Water, Western House, Halifax Road, Bradford, BD6 2SZ.

- Environment Agency, Lateral, 8 City Walk, Leeds, LS11 9AT.

- Howden Centre Library, 69 Hailgate, Howden, DN14 7SX.

The supporting documents are available at the Yorkshire Water Head Office in Bradford. The Environment Agency guidelines state drought permits must be advertised at the water company’s head office and the office most local to the relevant area. We have water treatment works nearby the permit application sites however, they are not suitable for public access and we are therefore only able to provide the information at our head office in Bradford, which can be accessed by the public.

## Environment Agency

We have been meeting with our local Environment Agency regularly since reservoirs stocks crossed the Environment Agency early warning trigger line in late May, and we have continued to consult the Environment Agency on the drought situation as it has escalated. We will continue to meet regularly until the situation recovers.

## Natural England

Natural England were consulted throughout the process of writing our Drought Plan 2022 and we have notified them of our intention to submit drought permit applications for the late summer of 2022. If there is potential for a proposed drought permit to impact on a designated site we are required to consult Natural England prior to submitting the application. The environmental assessment of this drought option confirmed there would be no impacts on any designated sites. The details of the assessment can be found in the accompanying EAR.

## Navigation Authority

We consulted with the Canal and Rivers Trust on 14th November 2022, and they have confirmed that they have no concerns regarding this permit during the winter months. A copy of CRT’s email of 1st December 2022 confirming this is included with this application.

## Internal Drainage Board

In mid-October we informed the local Internal Drainage Boards of our intention to apply for drought permits on the River Derwent. We received support for this application from one IDB and have not had any response from the others.

## Yorkshire Derwent Catchment Partnership

In late November we informed the Yorkshire Derwent Catchment Partnership of our intention to apply for this permit. Our consultation with YDCP included explaining to the Partnership Chair our reasons for applying, and also sending an explanatory email which was shared with the whole of the Partnership. The YDCP, which Yorkshire Water is a member of, comprises a number of organisations with an interest in the River Derwent, including Yorkshire Wildlife Trust, East Yorkshire Rivers Trust, Environment Agency, Natural England, Forestry Commission, North York Moors National Park, Howardian Hills AONB, Internal Drainage Board, North Yorkshire County Council, Ryedale District Council, East Riding of Yorkshire Council, Scarborough Borough Council, National Farmers Union, Country Land and Business Association, and National Trust.

## Retailers

Since retail separation in April 2017 commercial water users are now customers of retail companies. The Yorkshire Water Non-Household Management Team will ensure retailers operating in the Yorkshire Water supply area are notified of the permit applications in advance of public notices being published in newspapers.  Notification will be provided by email and will include a copy of the frequently asked questions. We will highlight to the retailers that the drought permits we are applying for will not impact on customers’ supplies and we are providing the information in case they get any calls or queries from their non-household customers. We will also provide retailers with contact details for raising questions relating to the permits.

# Appendices

## Appendix 1: Exceptional Shortage of Rainfall

Ranking results

In the ranking table values have been shaded according to their category as calculated using Cunnane’s plotting position, which calculates the probability of one of the ranked values being lower than expected.

The equation below shows the formula for the Cunnane plotting position, and the table shows the thresholds for the different categories.
Cunnane plotting position= Rank-0.4n+0.2

| Category | Probability of value being surpassed by lower value P(X) | Probability of occurrence |
| --- | --- | --- |
| Exceptionally high | >0.95 | 0.05 (5%) |
| Notably high | 0.87 – 0.95 | 0.08 (8%) |
| Above normal | 0.721 – 0.869 | 0.15 (15%) |
| Normal | 0.28 – 0.72 | 0.44 (44%) |
| Below normal | 0.131 – 0.279 | 0.15 (15%) |
| Notably low | 0.05 – 0.13 | 0.08 (8%) |
| Exceptionally low | <0.05 | 0.05 (5%) |

## Appendix 2: Summary of water saving communications

The table below summarises the communication activity we have carried out to raise awareness of the dry weather situation and to encourage demand reduction.

Samples of creative used during the campaign are provided below.

## Appendix 3: Notice relating to the River Derwent drought permit applications

YORKSHIRE WATER SERVICES LIMITED

NOTICE OF APPLICATION FOR DROUGHT PERMIT

River Derwent Catchment

TAKE NOTICE that due to the threat of a serious water shortage in the Yorkshire area caused by an exceptional shortage of rain, YORKSHIRE WATER SERVICES LIMITED (company number 02366682) whose registered office is at Western House, Halifax Road, Bradford, BD6 2SZ is applying to the Environment Agency for two drought permits in the River Derwent catchment under section 79a of the Water Resources Act 1991 (as amended).

The drought permits are intended to apply until 31 March 2023 and propose a temporary increase in the annual abstraction limit at Loftsome Bridge and a corresponding reduction in the annual abstraction limit at Elvington.

Loftsome Bridge (grid reference SE 70 30)

Yorkshire Water is authorised to abstract water from the River Derwent at Loftsome Bridge under licence serial number 2/27/28/083. Yorkshire Water’s abstraction at Loftsome Bridge is limited to 114,000 cubic metres per day and 30,400,000 cubic metres per year.

Elvington (grid reference SE 71 49)

Yorkshire Water is authorised to abstract water from the River Derwent at Elvington under licence serial number 2/27/28/017. Yorkshire Water’s abstraction at Elvington is limited to 205,000 cubic metres per day and 75,000,000 cubic metres per year.

Aggregate volumes

The abstractions at Loftsome Bridge and Elvington are aggregated and limit daily abstraction to 305,000 cubic metres per day and 98,841,000 cubic metres per year.

The licences also state that the abstraction on any day at Loftsome Bridge and Elvington shall not exceed the previous day’s flow in the River Derwent as measured by the Environment Agency’s gauge at Buttercrambe.

The drought permit applications for the River Derwent are to increase the annual abstraction limit at Loftsome Bridge by 2,300,000 cubic metres per year, and to correspondingly decrease the annual abstraction limit at Elvington by 2,300000 cubic metres per year. The new annual abstraction volumes are 32 700 000 cubic metres and 72,700,000 cubic metres respectively. The daily limits at each site and the aggregate volumes will not change.

The drought permits will allow Yorkshire Water to continue to abstract from the River Derwent at Loftsome Bridge until 31 March 2023. This will mean that Yorkshire Water can continue to supply customers using river water, helping reservoir stocks to recharge over the winter period, which will help maintain supply to customers in the Yorkshire area. An assessment of the potential environmental impacts of implementing the drought permits has been carried out in consultation with the Environment Agency and Natural England.

Anyone may inspect the proposals at the following locations, free of charge, during normal working hours for a period of seven days from the publication of this notice;

Yorkshire Water, Western House, Halifax Road, Bradford, BD6 2SZ.
Monday – Friday 8:00-17:00; Saturday – Sunday closed.

Howden Centre Library, 69 Hailgate, Howden, DN14 7SX.
Monday 9:30 – 16:30; Wednesday 14:00-19:00; Friday 9:30-14:30; Saturday 9:30-12:30. Tuesday, Thursday and Sunday closed.

Environment Agency, Lateral, 8 City Walk, Leeds, LS11 9AT.
Monday – Friday 9:30-16:30; Saturday – Sunday closed.

Copies of the proposals are also available to view on our website https://www.yorkshirewater.com/drought-permits

Objections may be made in writing to the Environment Agency at:

Water Resources Permitting Support Centre, Environment Agency, Quadrant 2, 99 Parkway Avenue, Parkway Business Park, Sheffield, S9 4WF or

psc-waterresources@environment-agency.gov.uk

Objections should be made immediately and in any event by 5pm on 18th December 2022. Objectors may send a copy of their objection to the address below.

Objectors may send a copy of their objection to Western House, Halifax Road, Bradford, BD6 2SZ or publicaffairs@yorkshirewater.co.uk.

Dated: 	8th December 2022

Signed:	Neil Dewis	Perminder Kaur

Director of Water Service Delivery	Head of Legal Services

Yorkshire Water, Western House, Halifax Road, Bradford, BD6 2SZ

Thank you

The leakage figures quoted here are those that form our regulatory targets for the AMP7 period. These differ from those presented in our WRMP19 for several reasons including changes to the way that leakage is calculated that were made between WRMP19 and PR19 Final Determination, and the regulatory target being measured against a three-year rolling average whereas WRMP19 includes in-year targets. A full explanation of these differences can be found in the addendum preface to our final WRMP19, which is available on our website at www.yorkshirewater.com/resources.

Environment Agency (2020) Water Company Drought Plan Guideline, April 2020.